## Notes
Notes
Simulation number |  | The sequential simulation identifier of each annual simulation - numbered between 1 and 605. Each simulation is modelled at the hourly resolution level - giving 8,760 hourly simulated outputs.
Unplanned outage set |  | Identifier of the hourly unplanned outage set used in the given simulation - numbered between 1 and 11. A stochastic availability model is used to develop the 11 annual simulations of hourly dispatchable power station availability.
Weather set |  | Identifier of the hourly demand and renewable energy resources trace set used in the given simulation - numbered between 1 and 55. A stochastic demand and renewable energy resource model is used to develop 55 weather influenced annual simulations of hourly demand (system and customer load) and renewable energy resource traces.
Energy and demand (as generated) | Annual regional energy (GWh) | The annual regional scheduled and semi-scheduled energy requirements for the given region and given weather set - taken as the sum of the 8,760 hourly simulated regional loads.
| Annual regional peak demand (MW) | The annual regional scheduled and semi-scheduled maximum demand for the given region and given weather set.
| Annual energy - NSLP + Small interval meter load (GWh) | The annual energy requirements for the given NSLP + Small interval meter load and given weather set.
| Annual peak demand - NSLP + Small interval meter load (MW) | The annual peak demand for the given NSLP + Small interval meter load and given weather set.
Spot Price (nominal at the regional reference node) | Annual regional time weighted spot price ($/MWh) | The simple average of the hourly simulated spot prices for the given region and simulation number.
| Annual regional load weighted spot price ($/MWh) | The load weighted average of the hourly simulated spot prices for the given region and simulation number - using the corresponding hourly regional loads as the weights.
| Number of hours spot prices above $300 | The number of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Contribution of spot prices above $300 to annual average spot price ($/MWh) | The contribution to the annual time weighted spot price of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Annual load weighted spot price - NSLP + Small interval meter load ($/MWh) | The load weighted average of the hourly simulated spot prices for the given NSLP + Small interval meter load and simulation number - using the corresponding hourly NSLP + Small interval meter loads as the weights.
WEC (Hedged price) (nominal at the regional reference node) | Annual hedged price - NSLP + Small interval meter load ($/MWh) | Sum of the hourly spot purchase costs, contract purchase costs (adopting a fixed quarterly hedging strategy and estimated contract prices), and hedge difference payments, divided by the annual energy to derive a price in $/MWh terms for a given NSLP + Small interval meter load and simulation number.

## Data
Summary of results for 605 market simulations for 2026-27 - Queensland
Simulation number | Unplanned outage set | Weather set | Energy and demand (as generated) |  |  |  | Spot Price (nominal at the regional reference node) |  |  |  |  | WEC (nominal at the regional reference node)
|  |  | Annual regional energy (GWh) | Annual regional peak demand (MW) | Annual energy - Energex NSLP + Small interval meter load(GWh) | Annual peak demand - Energex NSLP + Small interval meter load (MW) | Annual regional time weighted spot price ($/MWh) | Annual regional load weighted spot price ($/MWh) | Number of hours spot prices above $300 | Contribution of spot prices above $300 to annual average spot price ($/MWh) | Annual load weighted spot price - Energex NSLP + Small interval meter load ($/MWh) | Annual hedged price - Energex NSLP + Small interval meter load ($/MWh)
1 | 1 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 99.81 | 112.8 | 99 | 21.1278 | 123.96 | 120.2
2 | 1 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 87.31 | 95.61 | 98 | 9.8308 | 99.47 | 132.21
3 | 1 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 91.72 | 101.46 | 91 | 14.4772 | 105.65 | 126.81
4 | 1 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 83.86 | 91.47 | 108 | 5.9671 | 93.25 | 131.14
5 | 1 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 95.86 | 108.36 | 95 | 18.4955 | 119.69 | 124.39
6 | 1 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 87.19 | 95.74 | 130 | 8.9279 | 98.66 | 127.44
7 | 1 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 83.65 | 91.69 | 104 | 5.6044 | 95.53 | 132.48
8 | 1 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 94.84 | 108.33 | 91 | 16.6749 | 121.88 | 123.71
9 | 1 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 93.05 | 102.57 | 89 | 15.4735 | 106.59 | 123.22
10 | 1 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 81.89 | 91 | 54 | 4.4055 | 98.32 | 134.84
11 | 1 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 94.67 | 104.59 | 108 | 17.4496 | 110.15 | 128.29
12 | 1 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 94 | 103.67 | 127 | 15.7068 | 108.76 | 128.62
13 | 1 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 84.43 | 93.92 | 70 | 8.3009 | 101.13 | 130.08
14 | 1 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 89.55 | 98.15 | 127 | 11.5541 | 101.92 | 127.82
15 | 1 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 91.05 | 101.77 | 71 | 14.2522 | 110.25 | 126.92
16 | 1 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 92.31 | 102.9 | 129 | 12.8913 | 109.42 | 126.84
17 | 1 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 95.67 | 107.88 | 142 | 16.3465 | 118.74 | 123.5
18 | 1 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 83.52 | 90.95 | 69 | 7.2631 | 92.73 | 131.24
19 | 1 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 82.86 | 91.04 | 97 | 6.0953 | 94.23 | 131.5
20 | 1 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 89.91 | 99.45 | 92 | 12.3715 | 106.18 | 128.81
21 | 1 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 92.15 | 103.05 | 119 | 13.2136 | 108.71 | 122.62
22 | 1 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 91.22 | 101.78 | 103 | 12.9445 | 110.17 | 132.27
23 | 1 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 90.26 | 100.57 | 117 | 12.5075 | 106.69 | 125.14
24 | 1 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 87.53 | 96.13 | 72 | 11.3743 | 99.97 | 128.82
25 | 1 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 85.9 | 93.86 | 104 | 7.9153 | 97.09 | 133.56
26 | 1 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 85.34 | 96.35 | 120 | 8.8849 | 106 | 132.5
27 | 1 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 80.98 | 88.83 | 86 | 4.9483 | 91.79 | 133
28 | 1 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 86.96 | 97.27 | 97 | 9.246 | 104.86 | 131.05
29 | 1 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 86.22 | 96.66 | 97 | 9.267 | 106.16 | 130.71
30 | 1 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 79.27 | 87.09 | 59 | 2.9431 | 90.49 | 135.9
31 | 1 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 85.42 | 92.93 | 89 | 8.6608 | 93.98 | 130.04
32 | 1 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 87.28 | 98.54 | 114 | 9.6748 | 108.86 | 129.93
33 | 1 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 85.8 | 94.24 | 87 | 8.6843 | 97.97 | 129.57
34 | 1 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 89.1 | 100.72 | 123 | 10.891 | 111.02 | 127.77
35 | 1 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 89.88 | 100.32 | 95 | 12.7609 | 106.83 | 124.64
36 | 1 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 93.51 | 104.35 | 112 | 14.2411 | 111.73 | 128.3
37 | 1 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 82.62 | 90.8 | 40 | 6.7279 | 94.09 | 133.66
38 | 1 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 85.89 | 94.66 | 89 | 9.2386 | 97.6 | 130.85
39 | 1 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 87.73 | 96.96 | 96 | 11.0377 | 101.22 | 128.04
40 | 1 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 83.34 | 90.91 | 101 | 5.8679 | 92.51 | 132.34
41 | 1 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 92.25 | 101.54 | 169 | 13.3512 | 105.82 | 123.88
42 | 1 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 86.13 | 94.59 | 100 | 8.8154 | 99.11 | 131.88
43 | 1 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 79.93 | 87.17 | 50 | 2.1334 | 89.74 | 135.73
44 | 1 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 80.12 | 89.03 | 64 | 5.6622 | 93.62 | 133.66
45 | 1 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 99.78 | 113.54 | 141 | 21.1127 | 123.44 | 118.16
46 | 1 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 86.15 | 94.85 | 102 | 8.7789 | 98.3 | 130.12
47 | 1 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 91.27 | 102.11 | 99 | 12.9392 | 108.61 | 127.14
48 | 1 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 92.58 | 106.24 | 102 | 15.1965 | 120.47 | 121.89
49 | 1 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 92.07 | 102.42 | 114 | 14.609 | 108.13 | 126.72
50 | 1 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 100.66 | 115.63 | 147 | 21.1494 | 129.82 | 120.66
51 | 1 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 84.71 | 93.17 | 111 | 7.9049 | 97.09 | 130.11
52 | 1 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 97.44 | 111.1 | 161 | 18.8524 | 120.12 | 120.27
53 | 1 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 88.95 | 99.33 | 121 | 11.7682 | 103.96 | 125.53
54 | 1 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 93.32 | 107.29 | 128 | 15.2893 | 121.81 | 126.63
55 | 1 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 81.17 | 88.74 | 88 | 4.1316 | 91.11 | 131.69
56 | 2 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 91.98 | 103.13 | 104 | 12.6874 | 111.4 | 124.96
57 | 2 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 84.8 | 92.96 | 101 | 6.8954 | 96.43 | 133.27
58 | 2 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 90.45 | 101.21 | 112 | 13.1802 | 107.75 | 125.88
59 | 2 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 88.39 | 96.46 | 84 | 10.5066 | 98.2 | 130.7
60 | 2 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 103.11 | 114.38 | 71 | 26.4584 | 120.17 | 117.3
61 | 2 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 85.5 | 93.33 | 98 | 8.0519 | 95.2 | 129.86
62 | 2 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 87.56 | 95.35 | 64 | 10.3245 | 97.14 | 127.81
63 | 2 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 98.69 | 113.46 | 181 | 18.7302 | 128.35 | 121.41
64 | 2 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 90.3 | 99.75 | 123 | 11.5338 | 104.43 | 129.9
65 | 2 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 89.8 | 100.51 | 74 | 12.4072 | 109.28 | 130.17
66 | 2 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 95.14 | 106.34 | 127 | 16.6558 | 113.85 | 122.23
67 | 2 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 92.03 | 102.77 | 101 | 13.5512 | 110.56 | 124.17
68 | 2 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 81.25 | 89.79 | 67 | 4.8602 | 95.61 | 135.18
69 | 2 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 90.62 | 100.77 | 98 | 12.8974 | 106.92 | 123.91
70 | 2 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 80.42 | 88.3 | 51 | 3.5817 | 92.65 | 136.41
71 | 2 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 116.57 | 133.08 | 167 | 37.0309 | 144.8 | 102.66
72 | 2 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 87.22 | 97.19 | 96 | 8.5876 | 104.65 | 130.71
73 | 2 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 80.38 | 87.2 | 40 | 4.8689 | 89 | 134.67
74 | 2 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 92.6 | 101.08 | 108 | 15.2268 | 102.11 | 124.94
75 | 2 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 85.11 | 93.55 | 77 | 7.397 | 98.56 | 130.24
76 | 2 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 91.66 | 102.74 | 143 | 12.5189 | 110.82 | 125
77 | 2 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 89.08 | 98.11 | 132 | 10.9102 | 101.96 | 129.2
78 | 2 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 79.76 | 86.79 | 87 | 3.1798 | 89.56 | 134.95
79 | 2 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 84.59 | 95.08 | 51 | 8.565 | 103.31 | 130.38
80 | 2 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 80.82 | 87.99 | 61 | 3.2265 | 90.55 | 135.71
81 | 2 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 99.18 | 114.58 | 123 | 22.6066 | 128.99 | 119.41
82 | 2 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 77.54 | 84.4 | 59 | 2.0303 | 86.25 | 137.2
83 | 2 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 95.62 | 105.49 | 112 | 17.9279 | 110.61 | 123.02
84 | 2 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 90.97 | 100.97 | 148 | 13.8606 | 106.77 | 128.14
85 | 2 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 91.37 | 102.86 | 122 | 13.9751 | 111.21 | 124.65
86 | 2 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 83.08 | 90.71 | 60 | 6.3666 | 92.85 | 134.23
87 | 2 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 90.89 | 102.38 | 150 | 13.0265 | 111.39 | 124.83
88 | 2 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 84.13 | 92.33 | 73 | 7.9256 | 95.55 | 131.67
89 | 2 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 87.85 | 99.87 | 92 | 9.6691 | 112.19 | 131.04
90 | 2 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 86.59 | 96.17 | 70 | 9.7713 | 102.21 | 130.52
91 | 2 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 88.94 | 98.64 | 97 | 9.5271 | 105.24 | 130.54
92 | 2 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 80.15 | 87.84 | 85 | 3.31 | 90.61 | 135.95
93 | 2 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 82.25 | 90.33 | 94 | 5.2713 | 93.28 | 133.9
94 | 2 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 83.59 | 92.27 | 101 | 6.8588 | 96.73 | 135.55
95 | 2 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 107 | 121.11 | 137 | 29.4764 | 129.61 | 112
96 | 2 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 86.84 | 95.52 | 90 | 9.7348 | 99.6 | 127.08
97 | 2 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 82.16 | 89.75 | 72 | 5.5687 | 93.15 | 134.02
98 | 2 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 91.61 | 101.98 | 84 | 13.7976 | 107.28 | 123.66
99 | 2 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 93.26 | 104.71 | 121 | 17.2106 | 111.55 | 123.26
100 | 2 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 95.55 | 106.79 | 138 | 16.5127 | 113.97 | 121.59
101 | 2 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 102.72 | 114.68 | 104 | 25.3613 | 120.88 | 116.68
102 | 2 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 100.09 | 112.56 | 100 | 21.1837 | 119.46 | 118.26
103 | 2 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 101.55 | 119.16 | 134 | 23.2176 | 141.88 | 114.2
104 | 2 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 87.33 | 97.26 | 68 | 9.7924 | 102.71 | 129.54
105 | 2 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 110.84 | 126.43 | 149 | 31.4606 | 138.22 | 113.61
106 | 2 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 80.1 | 87.75 | 87 | 3.046 | 90.55 | 134.34
107 | 2 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 101.94 | 114.4 | 162 | 24.1661 | 119.68 | 116.34
108 | 2 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 93.89 | 103.23 | 133 | 16.0546 | 104.86 | 120.03
109 | 2 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 105.23 | 124.93 | 127 | 26.8218 | 149.71 | 113.64
110 | 2 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 78.82 | 85.51 | 67 | 2.0694 | 86.93 | 134.98
111 | 3 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 92.93 | 105.1 | 116 | 13.9516 | 116.63 | 127.48
112 | 3 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 86.33 | 95.47 | 113 | 9.8242 | 100.96 | 131.91
113 | 3 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 85.5 | 93.78 | 72 | 7.8528 | 96.86 | 133.34
114 | 3 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 92.58 | 102.52 | 132 | 15.4365 | 106.58 | 122.14
115 | 3 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 103.23 | 115.54 | 116 | 26.3084 | 123.73 | 120.37
116 | 3 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 83.44 | 90.92 | 76 | 6.0391 | 92.76 | 133.07
117 | 3 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 90.31 | 98.71 | 76 | 13.3729 | 100.21 | 127.51
118 | 3 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 96.62 | 109.69 | 137 | 17.5737 | 120.6 | 124.13
119 | 3 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 86.66 | 95.87 | 79 | 9.1047 | 101.03 | 130.58
120 | 3 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 88.42 | 98 | 108 | 10.0184 | 103.83 | 130.2
121 | 3 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 95.98 | 106.58 | 104 | 18.1631 | 112.16 | 123.59
122 | 3 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 89.13 | 97.73 | 91 | 11.1617 | 101.57 | 129.96
123 | 3 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 87.34 | 97.13 | 92 | 10.7728 | 104.12 | 130.44
124 | 3 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 87.06 | 95.69 | 122 | 9.0064 | 99.92 | 130.26
125 | 3 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 90.77 | 100.73 | 100 | 13.4888 | 107.26 | 128.48
126 | 3 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 93.09 | 103.42 | 139 | 14.0963 | 110.09 | 125.2
127 | 3 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 96.63 | 110.26 | 183 | 16.6896 | 124.14 | 125.39
128 | 3 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 82.3 | 89.61 | 71 | 5.9415 | 91.95 | 133.61
129 | 3 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 94.93 | 104.82 | 135 | 17.5905 | 106.83 | 124.23
130 | 3 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 87.9 | 96.09 | 90 | 9.7008 | 99.95 | 132.45
131 | 3 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 94.69 | 106.75 | 122 | 16.2104 | 117.19 | 122.2
132 | 3 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 85.17 | 92.68 | 117 | 7.2933 | 93.96 | 128.06
133 | 3 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 86.69 | 95.36 | 110 | 9.316 | 100.25 | 132.45
134 | 3 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 91.64 | 101.85 | 108 | 14.7954 | 107.92 | 126.08
135 | 3 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 91.09 | 99.71 | 104 | 13.4934 | 101.96 | 128.19
136 | 3 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 97 | 111.07 | 123 | 20.9284 | 124.76 | 121.73
137 | 3 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 89.84 | 98.06 | 91 | 13.2879 | 99.28 | 125.93
138 | 3 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 97.41 | 108.27 | 141 | 18.8988 | 113.42 | 122.19
139 | 3 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 84.48 | 93.37 | 103 | 7.7348 | 98.44 | 131.51
140 | 3 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 78.28 | 85.64 | 60 | 1.9623 | 88.28 | 137.23
141 | 3 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 78.76 | 85.82 | 73 | 2.8417 | 88.3 | 135.77
142 | 3 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 91.56 | 103.93 | 126 | 14.3433 | 114.46 | 119.23
143 | 3 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 84.01 | 92.99 | 85 | 7.5318 | 98.85 | 131.07
144 | 3 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 102.06 | 119.61 | 150 | 23.6245 | 141.14 | 121.27
145 | 3 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 88.06 | 97.73 | 120 | 10.8263 | 103.2 | 128.08
146 | 3 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 99.89 | 113.89 | 161 | 20.1268 | 126.78 | 119.29
147 | 3 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 83.63 | 92.5 | 64 | 7.5006 | 96.48 | 131.31
148 | 3 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 88.83 | 98.51 | 110 | 11.3703 | 103.47 | 128.26
149 | 3 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 80.66 | 88.46 | 87 | 4.0879 | 91.24 | 135.02
150 | 3 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 81.1 | 88.7 | 84 | 4.6108 | 90.78 | 132.24
151 | 3 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 95.67 | 105.34 | 143 | 16.5214 | 109.3 | 121.87
152 | 3 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 87.61 | 96.88 | 88 | 11.1212 | 102.64 | 127.69
153 | 3 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 93.36 | 103.77 | 117 | 15.2628 | 108.65 | 121.9
154 | 3 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 93.68 | 105.74 | 92 | 18.4487 | 113.14 | 124.58
155 | 3 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 113.38 | 126.6 | 174 | 34.3847 | 135.08 | 114.29
156 | 3 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 86.35 | 94.24 | 74 | 9.9528 | 96.65 | 129.87
157 | 3 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 97.22 | 108.97 | 134 | 18.1478 | 114.54 | 120.71
158 | 3 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 91.78 | 105.27 | 99 | 14.1321 | 119.88 | 124.32
159 | 3 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 92.24 | 102.05 | 74 | 14.8503 | 105.83 | 125.81
160 | 3 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 113.1 | 133.28 | 126 | 33.6128 | 154.32 | 110.08
161 | 3 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 86.7 | 95.8 | 103 | 10.3019 | 99.02 | 123.09
162 | 3 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 99.71 | 112.59 | 167 | 22.0282 | 121.07 | 116.75
163 | 3 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 98.86 | 110.02 | 169 | 20.9199 | 113.4 | 118.77
164 | 3 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 98.37 | 112.49 | 150 | 19.8399 | 124.73 | 117.91
165 | 3 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 90.61 | 100.7 | 124 | 13.272 | 106.28 | 125.66
166 | 4 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 92.21 | 103.09 | 140 | 12.5974 | 109.33 | 122.99
167 | 4 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 82.72 | 90.96 | 79 | 6.0445 | 95.68 | 131.36
168 | 4 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 79.84 | 87 | 66 | 3.3273 | 89.61 | 135.77
169 | 4 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 87.47 | 95.9 | 124 | 9.8075 | 99 | 130.45
170 | 4 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 89.27 | 99.58 | 124 | 12.491 | 108.37 | 128.9
171 | 4 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 83.6 | 91.95 | 78 | 5.7979 | 95.44 | 131.94
172 | 4 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 81.33 | 89.7 | 36 | 4.3404 | 94.63 | 132.58
173 | 4 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 99.53 | 115.83 | 81 | 21.5438 | 135.82 | 120.33
174 | 4 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 91.35 | 101.16 | 87 | 14.0784 | 106.44 | 127.64
175 | 4 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 80.69 | 89.07 | 45 | 3.8846 | 94.87 | 134.34
176 | 4 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 88.3 | 97.19 | 114 | 10.5198 | 101.31 | 129.7
177 | 4 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 84.72 | 92.82 | 93 | 6.9038 | 96.55 | 131.66
178 | 4 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 83.51 | 92.59 | 69 | 7.7452 | 98.5 | 131.87
179 | 4 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 90.09 | 100.48 | 63 | 12.9535 | 107.05 | 125
180 | 4 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 83.09 | 91.58 | 84 | 6.568 | 96.43 | 132.91
181 | 4 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 92.87 | 103.2 | 93 | 13.9207 | 109.96 | 124.14
182 | 4 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 93.35 | 104.91 | 125 | 14.2984 | 114.19 | 125.27
183 | 4 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 86.97 | 95.28 | 82 | 11.0936 | 97.9 | 128.08
184 | 4 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 81.04 | 89.11 | 67 | 4.5474 | 93.26 | 134.61
185 | 4 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 85.73 | 94.18 | 93 | 7.6986 | 98.83 | 132.44
186 | 4 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 84.77 | 94.24 | 66 | 7.0194 | 100.68 | 132.34
187 | 4 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 90.56 | 100.21 | 86 | 13.1352 | 105.39 | 126.87
188 | 4 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 80.26 | 88.06 | 55 | 3.4655 | 92.66 | 136.2
189 | 4 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 81.35 | 90.49 | 47 | 6.1672 | 97.02 | 132.73
190 | 4 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 81.51 | 89.05 | 82 | 3.6191 | 92.31 | 136.35
191 | 4 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 100.01 | 118.8 | 113 | 23.7401 | 140.12 | 116.94
192 | 4 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 83.71 | 91.93 | 41 | 8.1302 | 94.4 | 129.4
193 | 4 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 85.04 | 95.66 | 78 | 8.1678 | 104.74 | 131.69
194 | 4 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 87.92 | 99.1 | 91 | 11.7186 | 108.33 | 127.85
195 | 4 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 86.79 | 97.53 | 93 | 10.1008 | 105.89 | 127.8
196 | 4 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 80.39 | 88.47 | 59 | 4.2737 | 93.24 | 135.98
197 | 4 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 99.52 | 113.72 | 113 | 21.8756 | 125.96 | 114.68
198 | 4 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 81.59 | 89.34 | 65 | 5.1084 | 91.85 | 130.63
199 | 4 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 93.19 | 106.74 | 158 | 14.488 | 120.01 | 126.17
200 | 4 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 89.35 | 98.79 | 69 | 12.3875 | 103.29 | 126.58
201 | 4 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 95.02 | 107.63 | 107 | 15.9186 | 119.62 | 123.11
202 | 4 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 80.33 | 89.28 | 30 | 5.3024 | 94.14 | 131.31
203 | 4 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 85.62 | 96.43 | 97 | 8.6003 | 103.21 | 128.5
204 | 4 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 83.31 | 92.05 | 96 | 6.4506 | 96.4 | 134.51
205 | 4 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 88.64 | 98.68 | 128 | 10.9865 | 104.45 | 126.97
206 | 4 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 89.5 | 98.53 | 101 | 11.8336 | 102.19 | 124.46
207 | 4 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 79.33 | 86.33 | 58 | 3.4496 | 88.91 | 134.96
208 | 4 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 85.02 | 93.01 | 51 | 7.7047 | 95.08 | 128.47
209 | 4 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 81.34 | 91.29 | 63 | 6.8719 | 97.35 | 131.43
210 | 4 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 98.95 | 111.3 | 83 | 21.5339 | 118.64 | 117.28
211 | 4 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 83.4 | 91.73 | 69 | 6.5018 | 94.92 | 130.56
212 | 4 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 83.61 | 92.31 | 98 | 5.6662 | 96.45 | 130.14
213 | 4 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 89.12 | 101.11 | 101 | 10.9665 | 112.87 | 126.79
214 | 4 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 89.4 | 100.96 | 101 | 11.3977 | 109.96 | 128.92
215 | 4 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 98.3 | 113.16 | 136 | 19.1165 | 128.29 | 119
216 | 4 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 85.86 | 94.12 | 101 | 9.0448 | 96.39 | 124.99
217 | 4 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 87.46 | 97.71 | 127 | 10.1285 | 103.2 | 127.34
218 | 4 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 84.47 | 94.47 | 129 | 7.2236 | 99.78 | 128.52
219 | 4 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 98.7 | 116.05 | 125 | 20.3624 | 137.56 | 120.15
220 | 4 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 81.66 | 89.19 | 79 | 4.7133 | 91.45 | 130.08
221 | 5 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 90.32 | 101.42 | 81 | 11.595 | 110.28 | 124.11
222 | 5 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 84.91 | 92.72 | 58 | 8.3539 | 95.32 | 133.37
223 | 5 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 85.27 | 93.57 | 78 | 8.3364 | 96.13 | 129.04
224 | 5 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 94.21 | 103.91 | 114 | 17.3544 | 107.02 | 121.36
225 | 5 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 93.29 | 104.22 | 88 | 16.0757 | 112.87 | 127.74
226 | 5 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 92.39 | 102.48 | 90 | 15.1364 | 106.68 | 118.35
227 | 5 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 92.05 | 101.76 | 98 | 14.3242 | 105.5 | 121.21
228 | 5 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 96.24 | 110.48 | 114 | 17.4814 | 124.28 | 122.73
229 | 5 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 89.84 | 98.3 | 65 | 11.5957 | 102.19 | 129.92
230 | 5 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 83.44 | 91.61 | 50 | 6.258 | 94.99 | 131.07
231 | 5 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 100.11 | 110.04 | 102 | 22.9059 | 115.04 | 121.92
232 | 5 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 96.49 | 106.64 | 99 | 17.5372 | 111.54 | 122.37
233 | 5 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 79.82 | 87.76 | 74 | 3.2336 | 92.78 | 136.07
234 | 5 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 93.36 | 102.12 | 101 | 15.7425 | 105.31 | 125.41
235 | 5 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 80.29 | 88.23 | 55 | 3.972 | 93.04 | 135.63
236 | 5 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 98.49 | 110.47 | 130 | 19.5389 | 119.02 | 120.23
237 | 5 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 91.43 | 103.28 | 117 | 12.1522 | 114.33 | 129.53
238 | 5 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 83.77 | 91.12 | 59 | 7.5399 | 93.58 | 133.11
239 | 5 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 94.64 | 104.04 | 107 | 17.1364 | 106.01 | 125.91
240 | 5 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 94.08 | 104.26 | 118 | 15.0455 | 111.17 | 125.4
241 | 5 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 84.24 | 93.01 | 82 | 5.6344 | 98.98 | 132.69
242 | 5 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 99.52 | 109.94 | 101 | 21.3472 | 113.37 | 121
243 | 5 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 91.74 | 101.24 | 111 | 14.6519 | 105.66 | 121.91
244 | 5 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 83.31 | 91.84 | 85 | 6.9019 | 97.14 | 134.23
245 | 5 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 85.58 | 93.03 | 94 | 8.0031 | 94.68 | 130.57
246 | 5 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 99.72 | 117.41 | 93 | 24.5143 | 137.34 | 119.3
247 | 5 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 88.49 | 97.22 | 103 | 12.3745 | 98.54 | 122.95
248 | 5 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 93.27 | 104.66 | 121 | 15.393 | 112.06 | 126.27
249 | 5 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 84.37 | 92.53 | 98 | 7.4603 | 95.66 | 131.55
250 | 5 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 81.1 | 89.55 | 68 | 4.4155 | 93.65 | 132.57
251 | 5 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 78.88 | 86.15 | 67 | 2.8738 | 88.96 | 135.19
252 | 5 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 88.26 | 99 | 115 | 10.9263 | 107.6 | 128.21
253 | 5 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 83.15 | 91.01 | 48 | 6.9555 | 93.66 | 130.68
254 | 5 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 92.51 | 103.6 | 150 | 13.5221 | 112.09 | 128.1
255 | 5 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 93.58 | 104.97 | 118 | 16.0889 | 112.54 | 122.89
256 | 5 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 95.8 | 108.05 | 127 | 16.1877 | 117.47 | 118.93
257 | 5 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 77.78 | 85.02 | 32 | 2.3886 | 87.42 | 135.66
258 | 5 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 89.54 | 98.9 | 107 | 13.1583 | 102.54 | 129
259 | 5 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 92.43 | 102.49 | 92 | 15.9894 | 107.36 | 124.07
260 | 5 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 82.28 | 90 | 59 | 6.231 | 92.25 | 130.29
261 | 5 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 88.52 | 97.38 | 92 | 10.8251 | 101.64 | 124.83
262 | 5 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 81.62 | 88.5 | 55 | 4.9279 | 90.35 | 134.1
263 | 5 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 88.25 | 96.6 | 86 | 10.1896 | 99.21 | 126.13
264 | 5 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 84.06 | 94.6 | 49 | 9.2844 | 101.41 | 129.7
265 | 5 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 92.61 | 103.01 | 140 | 13.9425 | 107.89 | 123.41
266 | 5 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 83.36 | 91.21 | 60 | 6.8437 | 93.56 | 130.07
267 | 5 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 88.34 | 98.08 | 66 | 9.8745 | 102.88 | 126.55
268 | 5 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 90.76 | 102.84 | 101 | 13.0444 | 114.24 | 125.58
269 | 5 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 89.56 | 99.48 | 120 | 11.129 | 104.48 | 124.83
270 | 5 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 105.27 | 123.24 | 115 | 26.009 | 143.26 | 113.74
271 | 5 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 78.17 | 85.13 | 58 | 1.7037 | 87.11 | 135.12
272 | 5 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 94.65 | 105.52 | 134 | 16.8684 | 110.48 | 119.65
273 | 5 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 102.74 | 114.78 | 157 | 24.7372 | 119.03 | 116.08
274 | 5 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 99.97 | 114.24 | 140 | 21.4226 | 126.53 | 119.57
275 | 5 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 79.84 | 87.05 | 44 | 3.2845 | 89.39 | 134.56
276 | 6 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 103.65 | 118.99 | 124 | 24.8525 | 132.23 | 111.74
277 | 6 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 90.84 | 100.7 | 103 | 14.4381 | 106.43 | 130.84
278 | 6 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 84.99 | 93.79 | 87 | 8.6563 | 98.67 | 133.99
279 | 6 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 87.04 | 96.37 | 95 | 9.7448 | 101.3 | 129.85
280 | 6 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 100.55 | 112.82 | 136 | 23.431 | 124.19 | 119.22
281 | 6 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 90.39 | 99.44 | 104 | 12.9837 | 101.95 | 126.29
282 | 6 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 89.65 | 99.18 | 134 | 11.4885 | 102.92 | 124.56
283 | 6 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 98.5 | 112.7 | 115 | 19.4279 | 126.85 | 123.72
284 | 6 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 82.21 | 89.95 | 75 | 5.132 | 93.73 | 134.2
285 | 6 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 86.41 | 96.79 | 87 | 8.9439 | 104.47 | 131.35
286 | 6 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 101.49 | 114.54 | 150 | 23.8334 | 123.8 | 114.68
287 | 6 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 91.03 | 100.73 | 90 | 13.099 | 105.64 | 126.09
288 | 6 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 90.32 | 102.46 | 62 | 13.748 | 113.14 | 126.21
289 | 6 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 83.23 | 91.72 | 66 | 6.5172 | 96.66 | 130.58
290 | 6 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 90.27 | 100.68 | 120 | 13.1544 | 108.38 | 132.7
291 | 6 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 93.69 | 105.13 | 146 | 13.8193 | 114.3 | 126.68
292 | 6 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 94.21 | 106.95 | 124 | 15.9224 | 117.54 | 123.11
293 | 6 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 79.73 | 87 | 63 | 3.8943 | 89.07 | 134.03
294 | 6 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 92.45 | 103.4 | 115 | 15.224 | 109.63 | 126.48
295 | 6 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 93.1 | 103.17 | 81 | 15.6199 | 109.96 | 126.26
296 | 6 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 92.99 | 103.92 | 87 | 14.4478 | 110.53 | 124.2
297 | 6 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 98.14 | 109.66 | 103 | 20.4869 | 116.28 | 124.71
298 | 6 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 86.2 | 95.26 | 103 | 9.6852 | 100.35 | 129.78
299 | 6 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 86.72 | 96.4 | 101 | 11.1294 | 102.02 | 129.64
300 | 6 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 95.49 | 106.01 | 104 | 18.0777 | 110.7 | 124.68
301 | 6 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 97.24 | 111.7 | 131 | 21.5526 | 123.1 | 119.03
302 | 6 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 91.85 | 102.98 | 100 | 15.649 | 109.5 | 124.13
303 | 6 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 90.44 | 102.62 | 108 | 13.452 | 112.75 | 128.84
304 | 6 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 78.34 | 85.35 | 62 | 2.4425 | 87.34 | 136.45
305 | 6 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 93.48 | 106.61 | 129 | 16.3717 | 116.07 | 121.33
306 | 6 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 77.62 | 84.63 | 23 | 2.3272 | 87.1 | 134.87
307 | 6 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 102.92 | 119.37 | 111 | 25.688 | 135.85 | 113.17
308 | 6 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 79.61 | 87.39 | 68 | 3.6437 | 91.43 | 134.68
309 | 6 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 98.48 | 113.65 | 139 | 19.7927 | 128.91 | 122.67
310 | 6 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 90.02 | 100.14 | 104 | 12.3434 | 106.42 | 126.52
311 | 6 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 92.5 | 103.91 | 122 | 13.4722 | 113.06 | 126.6
312 | 6 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 87.82 | 97.27 | 80 | 12.2135 | 101.5 | 129.89
313 | 6 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 91.78 | 102.86 | 106 | 14.9816 | 108.97 | 126.15
314 | 6 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 106.81 | 125.74 | 125 | 29.9712 | 145.22 | 114.8
315 | 6 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 89.54 | 99.58 | 159 | 12.0003 | 104.01 | 125.89
316 | 6 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 85.16 | 93.08 | 132 | 7.0976 | 95.59 | 130.14
317 | 6 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 86.37 | 95.34 | 67 | 9.9699 | 100.14 | 130.26
318 | 6 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 79.27 | 86.19 | 56 | 2.406 | 88.29 | 135.34
319 | 6 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 88.59 | 100.43 | 107 | 13.5293 | 109.03 | 126.73
320 | 6 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 117.75 | 133.49 | 164 | 38.7748 | 145.34 | 114.54
321 | 6 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 96.75 | 109.29 | 80 | 19.7659 | 118.53 | 122.27
322 | 6 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 94.61 | 106.77 | 108 | 16.3945 | 114.69 | 124.62
323 | 6 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 94.42 | 108.27 | 141 | 16.6335 | 122.83 | 121.12
324 | 6 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 93.32 | 106.04 | 101 | 15.89 | 114.79 | 120.6
325 | 6 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 107.23 | 123.86 | 182 | 27.503 | 138.37 | 112.78
326 | 6 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 89.25 | 98.46 | 107 | 12.1848 | 102.02 | 128.56
327 | 6 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 98.63 | 112.36 | 147 | 21.458 | 121.08 | 117.26
328 | 6 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 84.77 | 94.23 | 116 | 8.1045 | 98.06 | 131.18
329 | 6 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 100.98 | 117.53 | 148 | 23.2022 | 134.32 | 117.11
330 | 6 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 92.16 | 101.91 | 81 | 15.4966 | 105.6 | 125.24
331 | 7 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 92.18 | 102.24 | 98 | 14.4647 | 106.67 | 121.71
332 | 7 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 83.2 | 90.83 | 84 | 6.9078 | 93.85 | 134.54
333 | 7 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 84.55 | 92.9 | 104 | 8.3454 | 95.79 | 128.83
334 | 7 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 88.69 | 97.51 | 67 | 12.3904 | 99.58 | 123.41
335 | 7 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 94.22 | 103.88 | 113 | 17.7877 | 107.66 | 124.74
336 | 7 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 85.32 | 94.12 | 63 | 8.6333 | 97.3 | 124.72
337 | 7 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 96.77 | 108.24 | 91 | 20.1174 | 113.86 | 111.3
338 | 7 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 92.1 | 103.14 | 130 | 14.0014 | 111.07 | 128.4
339 | 7 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 90.6 | 101.18 | 84 | 13.6648 | 107.99 | 127.16
340 | 7 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 84.21 | 93.48 | 73 | 7.6389 | 99.26 | 130.44
341 | 7 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 82.88 | 90.8 | 80 | 6.4368 | 94.18 | 133.69
342 | 7 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 89.39 | 98.74 | 110 | 12.5065 | 103.7 | 126.88
343 | 7 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 80.28 | 88.29 | 63 | 4.7624 | 92.85 | 134.77
344 | 7 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 90.47 | 100.75 | 95 | 13.8628 | 106.94 | 125.71
345 | 7 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 92.43 | 103.14 | 99 | 16.0903 | 109.6 | 122.13
346 | 7 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 100.8 | 112.82 | 108 | 22.1108 | 119.72 | 119.28
347 | 7 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 87.41 | 98 | 94 | 9.5775 | 106.82 | 129.98
348 | 7 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 79.43 | 86.48 | 33 | 4.2082 | 87.88 | 131.88
349 | 7 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 83.82 | 91.88 | 108 | 7.4222 | 94.21 | 132.34
350 | 7 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 86.39 | 95.13 | 86 | 9.0491 | 100.47 | 129.95
351 | 7 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 94.2 | 103.58 | 95 | 16.6041 | 106.17 | 123.67
352 | 7 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 92.4 | 103.23 | 82 | 15.6468 | 112.04 | 126.92
353 | 7 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 78.45 | 85.32 | 60 | 2.4673 | 88.21 | 136.72
354 | 7 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 83.52 | 92.05 | 61 | 8.0528 | 96.31 | 131.92
355 | 7 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 89.82 | 99 | 102 | 12.9236 | 101.92 | 124.94
356 | 7 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 94.4 | 110.43 | 98 | 19.4323 | 127.98 | 122.43
357 | 7 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 86.81 | 96.08 | 79 | 11.4393 | 99.51 | 123.8
358 | 7 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 90.92 | 102.44 | 107 | 13.9866 | 112.16 | 128.35
359 | 7 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 90.62 | 100.49 | 113 | 14.5748 | 106.12 | 126.41
360 | 7 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 84.88 | 93.92 | 67 | 9.4803 | 98.15 | 128.49
361 | 7 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 81.98 | 89.86 | 59 | 6.9844 | 92.86 | 129.81
362 | 7 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 87.47 | 97.51 | 104 | 10.3532 | 104.47 | 128.15
363 | 7 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 76.58 | 83 | 73 | 1.0143 | 84.54 | 137
364 | 7 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 91.67 | 103.49 | 100 | 14.8236 | 113.47 | 125.29
365 | 7 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 94.6 | 105.66 | 92 | 17.9392 | 111.84 | 119.19
366 | 7 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 87.21 | 97.3 | 64 | 9.2165 | 105.63 | 129.95
367 | 7 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 77.3 | 84.19 | 47 | 2.2345 | 86.12 | 135.48
368 | 7 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 84.72 | 94.27 | 100 | 8.513 | 98.81 | 130.02
369 | 7 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 88.81 | 99 | 94 | 11.9798 | 106.29 | 130.22
370 | 7 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 85.02 | 93.95 | 102 | 8.6525 | 97.4 | 127.85
371 | 7 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 90.08 | 98.69 | 81 | 13.3299 | 102.2 | 125.35
372 | 7 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 82.43 | 89.84 | 58 | 7.2357 | 92.42 | 132.54
373 | 7 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 84.04 | 92.28 | 35 | 7.0071 | 95.47 | 128.72
374 | 7 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 78.86 | 86.76 | 57 | 4.7449 | 89.55 | 134.09
375 | 7 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 94.49 | 105.46 | 126 | 16.2386 | 111.56 | 123.91
376 | 7 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 83.82 | 91.55 | 86 | 7.5374 | 93.9 | 129.9
377 | 7 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 93.5 | 105.75 | 111 | 15.3944 | 114.24 | 122.14
378 | 7 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 86.45 | 97.56 | 102 | 9.49 | 108.69 | 129.86
379 | 7 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 79.61 | 87.24 | 60 | 3.4286 | 90.25 | 133.97
380 | 7 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 103.08 | 118.27 | 123 | 25.01 | 130.31 | 110.1
381 | 7 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 82.34 | 90.91 | 79 | 6.156 | 96.05 | 133.4
382 | 7 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 92.52 | 102.53 | 128 | 15.5422 | 105.63 | 124.62
383 | 7 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 93.54 | 104.58 | 121 | 16.7705 | 108.28 | 117.73
384 | 7 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 87.73 | 99.12 | 52 | 11.2411 | 109.08 | 129.59
385 | 7 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 80.6 | 87.92 | 53 | 4.7005 | 90.29 | 131.38
386 | 8 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 98.4 | 112.68 | 105 | 19.3169 | 126.68 | 118.02
387 | 8 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 80.17 | 87.93 | 70 | 3.9638 | 91.63 | 136.46
388 | 8 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 93.06 | 102.78 | 102 | 16.3404 | 106.64 | 126.81
389 | 8 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 85.31 | 93.05 | 82 | 8.7281 | 95.13 | 129.06
390 | 8 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 94.24 | 106.56 | 87 | 17.9 | 118.96 | 125.73
391 | 8 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 84.41 | 91.8 | 63 | 7.7441 | 93.1 | 131.7
392 | 8 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 83.42 | 91.92 | 82 | 6.7421 | 96.23 | 132.88
393 | 8 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 95.58 | 108 | 129 | 16.7046 | 118.74 | 127.48
394 | 8 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 86.7 | 95.38 | 103 | 9.3262 | 99.86 | 129.67
395 | 8 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 85.52 | 95.03 | 96 | 8.1186 | 102.39 | 132.14
396 | 8 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 90.26 | 100.13 | 101 | 12.8463 | 105.54 | 125.16
397 | 8 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 85.66 | 93.86 | 127 | 8.2454 | 96.7 | 128.96
398 | 8 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 91.06 | 104.67 | 58 | 14.7104 | 120.45 | 126.65
399 | 8 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 85.49 | 94.5 | 69 | 9.1346 | 99.67 | 129.62
400 | 8 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 90.69 | 102.1 | 72 | 14.5539 | 113.32 | 127.71
401 | 8 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 94.72 | 105.07 | 136 | 16.0118 | 109.97 | 123.42
402 | 8 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 102.41 | 115.69 | 149 | 23.4668 | 126.63 | 117.47
403 | 8 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 81.61 | 88.6 | 58 | 5.9615 | 90.4 | 132.85
404 | 8 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 85.6 | 93.82 | 94 | 9.1315 | 95.57 | 130.95
405 | 8 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 86.05 | 94.62 | 110 | 8.5116 | 99.19 | 131.65
406 | 8 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 93.53 | 105.01 | 109 | 15.788 | 112.97 | 123.42
407 | 8 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 91.3 | 101.58 | 115 | 13.6804 | 107.46 | 124.49
408 | 8 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 81.71 | 89.52 | 69 | 5.2883 | 93.31 | 132.48
409 | 8 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 86.5 | 95.49 | 90 | 10.7072 | 98.95 | 130.16
410 | 8 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 89.63 | 98.02 | 71 | 12.6718 | 100.15 | 128.98
411 | 8 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 90.72 | 102.39 | 122 | 14.8649 | 110.61 | 125.62
412 | 8 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 84.6 | 92.77 | 80 | 9.8242 | 94.78 | 127.67
413 | 8 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 85.92 | 96.36 | 74 | 9.2484 | 104.66 | 131.66
414 | 8 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 89.5 | 100.6 | 74 | 13.58 | 108.51 | 128.9
415 | 8 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 83.02 | 91.56 | 50 | 7.1387 | 95.31 | 130.81
416 | 8 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 75.65 | 81.79 | 21 | 0.15446 | 82.88 | 138.01
417 | 8 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 88.54 | 99.41 | 145 | 11.0339 | 107.28 | 125.81
418 | 8 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 81.06 | 88.29 | 57 | 4.7544 | 89.79 | 130.1
419 | 8 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 88.92 | 99.11 | 104 | 11.0594 | 105.65 | 128.8
420 | 8 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 91.24 | 103.04 | 84 | 15.1409 | 111.89 | 121.4
421 | 8 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 92.12 | 103.29 | 106 | 13.3431 | 110.84 | 122.18
422 | 8 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 85.69 | 94.95 | 85 | 9.7256 | 98.15 | 129.09
423 | 8 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 84.94 | 94.43 | 89 | 8.563 | 99.17 | 128.41
424 | 8 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 89.47 | 99.52 | 102 | 12.4681 | 104.77 | 127.47
425 | 8 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 84.81 | 94.98 | 95 | 8.7298 | 101.89 | 129.82
426 | 8 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 91.48 | 102.37 | 114 | 13.4654 | 110.56 | 123.03
427 | 8 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 82.04 | 89.26 | 58 | 6.2047 | 91.39 | 132.94
428 | 8 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 86.14 | 94.06 | 81 | 8.9934 | 95.32 | 128.07
429 | 8 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 86.76 | 96.86 | 104 | 11.7852 | 101.62 | 129.68
430 | 8 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 101.29 | 114.67 | 131 | 22.8562 | 123.62 | 117.31
431 | 8 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 91.69 | 101.7 | 68 | 15.6415 | 105.41 | 120.5
432 | 8 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 82.16 | 90.26 | 114 | 3.753 | 93.83 | 135.26
433 | 8 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 94.82 | 107.79 | 156 | 15.9695 | 118.93 | 122.29
434 | 8 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 96.64 | 109.48 | 127 | 18.6822 | 117.34 | 115.89
435 | 8 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 97.54 | 112.55 | 143 | 17.9014 | 128.53 | 121.91
436 | 8 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 83.15 | 91.47 | 80 | 6.8598 | 94.78 | 131.08
437 | 8 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 100.55 | 111.89 | 116 | 24.0315 | 115.66 | 114.26
438 | 8 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 92.9 | 104.64 | 114 | 16.0986 | 109.83 | 115.25
439 | 8 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 94.27 | 108.89 | 112 | 16.5405 | 124.38 | 121.64
440 | 8 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 84.26 | 92.82 | 76 | 7.9023 | 96.47 | 128.18
441 | 9 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 95.22 | 106.51 | 74 | 17.06 | 116 | 119.72
442 | 9 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 85.7 | 94.12 | 73 | 8.7493 | 99.25 | 135.53
443 | 9 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 96.12 | 106.04 | 119 | 18.5162 | 109.62 | 121.76
444 | 9 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 86.47 | 94.95 | 108 | 9.312 | 97.61 | 125.73
445 | 9 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 92.79 | 103.99 | 113 | 15.5282 | 113.59 | 126.99
446 | 9 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 89 | 97.08 | 86 | 11.2297 | 98.47 | 125.58
447 | 9 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 88.33 | 97.5 | 93 | 10.8993 | 101.81 | 126.57
448 | 9 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 99.57 | 111.65 | 123 | 21.1289 | 120.16 | 118.78
449 | 9 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 82.61 | 89.63 | 79 | 5.2609 | 91.83 | 134.4
450 | 9 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 95.69 | 108.99 | 94 | 17.622 | 122.94 | 120.59
451 | 9 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 99.37 | 110.49 | 100 | 22.0394 | 115.97 | 120.23
452 | 9 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 85.15 | 93.2 | 117 | 6.8895 | 96.29 | 129.18
453 | 9 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 83.18 | 92.43 | 39 | 6.9265 | 99.33 | 133.38
454 | 9 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 90.49 | 99.37 | 74 | 13.6412 | 103.69 | 123.79
455 | 9 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 82.34 | 91.92 | 49 | 6.1186 | 100.82 | 133.89
456 | 9 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 93.08 | 103.25 | 125 | 14.1754 | 108.43 | 117.37
457 | 9 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 87.52 | 98.08 | 151 | 8.4698 | 107.13 | 130.23
458 | 9 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 79.94 | 86.86 | 62 | 4.2556 | 88.16 | 132.41
459 | 9 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 89.09 | 97.9 | 126 | 11.9969 | 101.16 | 126.03
460 | 9 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 101.15 | 115.51 | 123 | 22.78 | 130.23 | 112.22
461 | 9 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 91.02 | 101.12 | 89 | 12.4918 | 107.6 | 127.13
462 | 9 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 88.77 | 97.64 | 117 | 10.4895 | 101.47 | 130.93
463 | 9 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 80.11 | 87.66 | 54 | 3.5244 | 91.79 | 134.68
464 | 9 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 79.73 | 86.95 | 71 | 3.7465 | 89.59 | 135.49
465 | 9 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 96.17 | 108.12 | 74 | 19.0169 | 118.74 | 118.1
466 | 9 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 96.5 | 109.75 | 104 | 20.8356 | 120.63 | 120.98
467 | 9 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 79.26 | 86.45 | 64 | 3.6644 | 88.19 | 133.5
468 | 9 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 89.4 | 101.19 | 86 | 12.0704 | 110.85 | 126.92
469 | 9 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 85.76 | 95.23 | 107 | 8.9119 | 101.19 | 129.35
470 | 9 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 85.28 | 95.12 | 93 | 8.8409 | 101.2 | 128.96
471 | 9 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 84.35 | 92.52 | 60 | 7.977 | 95.71 | 130.74
472 | 9 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 95.56 | 109.1 | 147 | 17.7257 | 121.51 | 114.73
473 | 9 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 77.85 | 84.63 | 44 | 1.8584 | 86.7 | 136.09
474 | 9 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 88.6 | 99.3 | 131 | 10.0622 | 107.91 | 131.01
475 | 9 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 94.94 | 108.15 | 110 | 17.3242 | 120.44 | 123.84
476 | 9 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 91.37 | 101.86 | 114 | 12.4447 | 108.57 | 124.54
477 | 9 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 79.48 | 86.72 | 48 | 2.9625 | 88.86 | 135.01
478 | 9 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 86.91 | 94.97 | 84 | 10.5854 | 97.34 | 127.22
479 | 9 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 89.95 | 99.72 | 103 | 12.8254 | 104.99 | 127.66
480 | 9 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 79.82 | 86.93 | 68 | 2.737 | 88.93 | 133.62
481 | 9 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 85.71 | 93.66 | 120 | 7.8829 | 96.83 | 131.4
482 | 9 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 91.95 | 100.95 | 104 | 14.2321 | 104.81 | 126.18
483 | 9 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 79.75 | 86.32 | 46 | 2.5282 | 88.01 | 135.28
484 | 9 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 83.83 | 94.06 | 62 | 8.9111 | 99.92 | 129.71
485 | 9 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 106.26 | 122.25 | 117 | 28.1977 | 136.28 | 110.92
486 | 9 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 85.88 | 94.26 | 96 | 9.2673 | 97.33 | 130.64
487 | 9 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 91.02 | 102.25 | 93 | 12.2888 | 110.3 | 119.6
488 | 9 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 96.2 | 111.57 | 96 | 18.9203 | 130.08 | 118.88
489 | 9 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 99.22 | 112.94 | 109 | 21.5472 | 123.08 | 117.28
490 | 9 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 104.28 | 119.62 | 146 | 24.5545 | 133.53 | 115.81
491 | 9 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 90.71 | 100.2 | 81 | 14.6208 | 104.99 | 123.49
492 | 9 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 106.7 | 119.16 | 154 | 29.3519 | 123.92 | 106.33
493 | 9 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 98.64 | 109.54 | 165 | 20.7499 | 113.48 | 114.11
494 | 9 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 109.39 | 131.18 | 139 | 30.5813 | 159.15 | 105.48
495 | 9 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 86.21 | 94.76 | 74 | 8.8033 | 97.95 | 128.07
496 | 10 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 87.57 | 96.37 | 83 | 9.1046 | 100.04 | 129
497 | 10 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 85.32 | 93.39 | 97 | 8.4092 | 97.43 | 134.05
498 | 10 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 90.83 | 100.36 | 82 | 14.8214 | 103.86 | 123.79
499 | 10 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 81.12 | 88.11 | 74 | 3.7087 | 90.23 | 134.26
500 | 10 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 89.8 | 99.72 | 93 | 13.556 | 106.91 | 128.48
501 | 10 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 82.11 | 89.18 | 71 | 5.1126 | 90.63 | 133.51
502 | 10 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 86.13 | 94.78 | 83 | 8.6647 | 98.39 | 129.76
503 | 10 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 82.73 | 90.96 | 80 | 5.2709 | 95.57 | 135.31
504 | 10 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 84.93 | 93.12 | 99 | 7.1428 | 97.9 | 133.13
505 | 10 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 86.32 | 97.56 | 35 | 9.4538 | 108.28 | 129.76
506 | 10 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 90.96 | 100.31 | 108 | 12.8987 | 104.24 | 129.32
507 | 10 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 85.27 | 93.1 | 88 | 7.8349 | 95.51 | 128.26
508 | 10 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 82.21 | 90.39 | 73 | 5.5033 | 94.69 | 132.46
509 | 10 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 83.43 | 92.2 | 85 | 6.5591 | 97.32 | 130.4
510 | 10 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 81.95 | 89.96 | 68 | 6.2141 | 93.85 | 133.89
511 | 10 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 99.8 | 111.63 | 146 | 19.9128 | 119.08 | 121.75
512 | 10 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 90.87 | 101.27 | 110 | 12.1127 | 108.65 | 129.18
513 | 10 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 80.89 | 87.8 | 47 | 5.2335 | 89.92 | 134.08
514 | 10 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 89.17 | 98.85 | 103 | 12.0131 | 103.99 | 128.38
515 | 10 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 88.69 | 97.19 | 80 | 10.4588 | 101.48 | 130.39
516 | 10 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 93.18 | 103.64 | 71 | 15.206 | 109.21 | 123.93
517 | 10 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 89.14 | 97.64 | 71 | 12.3311 | 100.37 | 129.42
518 | 10 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 83.26 | 91.73 | 83 | 6.3575 | 96.62 | 131
519 | 10 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 94.3 | 105.55 | 83 | 18.2986 | 112.73 | 123.4
520 | 10 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 97.33 | 107.7 | 106 | 19.1781 | 112.83 | 126.36
521 | 10 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 95.83 | 110.73 | 99 | 20.5544 | 124.22 | 120.82
522 | 10 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 79.59 | 86.78 | 43 | 4.7152 | 88.93 | 134.28
523 | 10 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 85.62 | 95.12 | 98 | 7.8081 | 101.35 | 133.75
524 | 10 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 89.8 | 99.79 | 111 | 12.6404 | 105.85 | 128.86
525 | 10 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 82.39 | 91.03 | 74 | 6.1373 | 96.13 | 134.85
526 | 10 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 81.11 | 88.9 | 64 | 4.8207 | 92.71 | 132.14
527 | 10 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 94.9 | 108.66 | 82 | 18.3918 | 123.39 | 122.86
528 | 10 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 86.21 | 95.42 | 106 | 9.6658 | 101.51 | 130.16
529 | 10 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 95.76 | 108.25 | 119 | 17.9301 | 119.5 | 124.39
530 | 10 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 85.4 | 93.85 | 77 | 8.6141 | 97.57 | 130.33
531 | 10 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 91.28 | 101.85 | 102 | 12.492 | 109.96 | 126.99
532 | 10 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 85.46 | 94.4 | 48 | 9.7666 | 97.26 | 128.95
533 | 10 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 87.2 | 97.33 | 121 | 9.6742 | 102.69 | 127.68
534 | 10 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 90.33 | 100.51 | 105 | 13.195 | 105.59 | 129.8
535 | 10 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 84.88 | 93.33 | 88 | 8.3969 | 96.09 | 125.94
536 | 10 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 89.55 | 98.05 | 91 | 12.2684 | 100.86 | 126.09
537 | 10 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 78.05 | 84.3 | 34 | 1.2969 | 85.86 | 136.4
538 | 10 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 89.27 | 98.32 | 76 | 11.7881 | 103.07 | 126.28
539 | 10 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 88.04 | 98.95 | 108 | 12.77 | 106.39 | 128.06
540 | 10 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 97.4 | 108.96 | 94 | 19.4574 | 114.8 | 122.03
541 | 10 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 85.19 | 93.73 | 58 | 8.8898 | 97.89 | 131.17
542 | 10 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 91.91 | 103.56 | 110 | 13.3234 | 111.59 | 122.63
543 | 10 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 84.38 | 94.47 | 67 | 7.3527 | 103.53 | 130.73
544 | 10 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 90.27 | 101.24 | 83 | 13.0144 | 107.66 | 126.57
545 | 10 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 106.66 | 123.87 | 181 | 27.0223 | 140.79 | 110.75
546 | 10 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 91.72 | 101.38 | 102 | 14.8904 | 106.95 | 123.99
547 | 10 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 88.45 | 98.29 | 117 | 11.0256 | 102.12 | 126.18
548 | 10 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 86.62 | 96.8 | 124 | 9.499 | 101.81 | 125
549 | 10 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 99.54 | 115.63 | 119 | 21.4819 | 134.29 | 122.86
550 | 10 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 82.47 | 90.76 | 74 | 5.9046 | 94.57 | 130.62
551 | 11 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 92.74 | 103.97 | 121 | 13.7868 | 112.23 | 124.23
552 | 11 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 85.05 | 93.09 | 97 | 7.9888 | 97.54 | 135.39
553 | 11 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 85.34 | 93.4 | 91 | 8.8984 | 96.15 | 129.63
554 | 11 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 79.91 | 86.62 | 76 | 3.1377 | 88.08 | 136.23
555 | 11 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 89.43 | 98.53 | 119 | 12.6738 | 103.41 | 129.14
556 | 11 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 86.35 | 93.88 | 72 | 8.8099 | 95.61 | 128.69
557 | 11 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 84.1 | 92.19 | 111 | 6.6443 | 95.29 | 130.93
558 | 11 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 96.28 | 107.61 | 104 | 18.0701 | 114.64 | 123.01
559 | 11 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 88.66 | 96.77 | 102 | 10.8657 | 99.69 | 128.2
560 | 11 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 86 | 95.57 | 61 | 8.5839 | 101.89 | 130.22
561 | 11 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 92.36 | 101.98 | 125 | 14.6347 | 106.22 | 128.67
562 | 11 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 87.81 | 96.31 | 105 | 10.0879 | 98.81 | 126.44
563 | 11 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 79.02 | 86.53 | 62 | 3.0662 | 90.1 | 135.43
564 | 11 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 82.38 | 89.26 | 84 | 5.2177 | 91.34 | 133.76
565 | 11 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 87.71 | 95.96 | 65 | 11.3931 | 99.06 | 129.64
566 | 11 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 98.38 | 109.36 | 122 | 19.4401 | 115.89 | 122.88
567 | 11 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 93.52 | 104.9 | 164 | 14.3328 | 113.67 | 124.82
568 | 11 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 81.48 | 88.63 | 65 | 5.3837 | 91.06 | 135.17
569 | 11 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 94.76 | 105.99 | 140 | 17.3288 | 111.74 | 119.93
570 | 11 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 94.44 | 105.25 | 127 | 16.1261 | 112.41 | 123.45
571 | 11 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 90.31 | 99.77 | 86 | 12.0827 | 104.1 | 127.71
572 | 11 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 80.99 | 88.1 | 64 | 3.7845 | 90.12 | 134.67
573 | 11 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 82.41 | 90.39 | 70 | 5.226 | 94.88 | 131.71
574 | 11 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 80.33 | 87.83 | 70 | 4.7417 | 90.76 | 134.76
575 | 11 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 85.54 | 93.37 | 105 | 7.9029 | 95.59 | 131.23
576 | 11 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 91.38 | 104.07 | 56 | 16.8091 | 115.32 | 125.94
577 | 11 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 80.93 | 88.35 | 58 | 6.0597 | 89.56 | 131.51
578 | 11 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 94.74 | 106.23 | 123 | 17.0165 | 112.92 | 125.81
579 | 11 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 84.08 | 92.7 | 110 | 7.4273 | 96.89 | 133.47
580 | 11 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 80.72 | 88.89 | 54 | 4.568 | 92.43 | 134.02
581 | 11 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 81.79 | 89.57 | 77 | 5.6076 | 93.02 | 134.42
582 | 11 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 89.72 | 99.44 | 129 | 12.2021 | 104.35 | 126.85
583 | 11 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 86.02 | 95.02 | 76 | 9.6344 | 100.25 | 128.27
584 | 11 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 87.04 | 97.11 | 114 | 9.2664 | 104.51 | 132.31
585 | 11 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 94.64 | 107.35 | 120 | 17.5745 | 118.99 | 120.83
586 | 11 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 86.1 | 95.7 | 98 | 7.2443 | 102.65 | 132.04
587 | 11 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 80.11 | 87.81 | 74 | 4.6219 | 90.42 | 133.61
588 | 11 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 90.88 | 99.96 | 76 | 14.3578 | 102.1 | 127.02
589 | 11 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 80.31 | 88.13 | 113 | 3.3659 | 91.45 | 136.95
590 | 11 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 91.19 | 100.3 | 85 | 14.422 | 102.76 | 124.36
591 | 11 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 90.83 | 100.13 | 120 | 13.1178 | 104.92 | 127.14
592 | 11 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 83.5 | 91.55 | 87 | 7.0902 | 95.56 | 131.86
593 | 11 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 90.97 | 100.17 | 68 | 13.8392 | 103.5 | 122.13
594 | 11 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 83.82 | 93.8 | 61 | 8.8292 | 98.86 | 129.66
595 | 11 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 90.1 | 100.16 | 83 | 12.6215 | 103.71 | 121.92
596 | 11 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 86.52 | 96.11 | 73 | 9.7196 | 101.81 | 130.44
597 | 11 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 87.86 | 97.65 | 87 | 10.1564 | 103.55 | 125.36
598 | 11 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 89.01 | 100.15 | 107 | 11.4809 | 109.32 | 125.58
599 | 11 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 90.64 | 101.53 | 81 | 13.2552 | 107.74 | 122.99
600 | 11 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 108.04 | 124.27 | 157 | 28.3991 | 140.03 | 116.55
601 | 11 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 80.71 | 88.06 | 75 | 4.4439 | 90.21 | 132.92
602 | 11 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 93.77 | 104.99 | 134 | 16.951 | 110.11 | 121.65
603 | 11 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 96.44 | 108.38 | 186 | 17.6528 | 114.14 | 118.64
604 | 11 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 99.21 | 116.27 | 132 | 21.1987 | 136.34 | 119.98
605 | 11 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 83.74 | 91.77 | 61 | 7.2237 | 94.41 | 131.13