## Notes
Notes
Simulation number |  | The sequential simulation identifier of each annual simulation - numbered between 1 and 605. Each simulation is modelled at the hourly resolution level - giving 8,760 hourly simulated outputs.
Unplanned outage set |  | Identifier of the hourly unplanned outage set used in the given simulation - numbered between 1 and 11. A stochastic availability model is used to develop the 11 annual simulations of hourly dispatchable power station availability.
Weather set |  | Identifier of the hourly demand and renewable energy resources trace set used in the given simulation - numbered between 1 and 55. A stochastic demand and renewable energy resource model is used to develop 55 weather influenced annual simulations of hourly demand (system and customer load) and renewable energy resource traces.
Energy and demand (as generated) | Annual regional energy (GWh) | The annual regional scheduled and semi-scheduled energy requirements for the given region and given weather set - taken as the sum of the 8,760 hourly simulated regional loads.
| Annual regional peak demand (MW) | The annual regional scheduled and semi-scheduled maximum demand for the given region and given weather set.
| Annual energy - NSLP + Small interval meter load (GWh) | The annual energy requirements for the given NSLP + Small interval meter load and given weather set.
| Annual peak demand - NSLP + Small interval meter load (MW) | The annual peak demand for the given NSLP + Small interval meter load and given weather set.
Spot Price (nominal at the regional reference node) | Annual regional time weighted spot price ($/MWh) | The simple average of the hourly simulated spot prices for the given region and simulation number.
| Annual regional load weighted spot price ($/MWh) | The load weighted average of the hourly simulated spot prices for the given region and simulation number - using the corresponding hourly regional loads as the weights.
| Number of hours spot prices above $300 | The number of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Contribution of spot prices above $300 to annual average spot price ($/MWh) | The contribution to the annual time weighted spot price of simulated hourly prices in a given simulation that exceed $300/MWh for the given region and simulation number.
| Annual load weighted spot price - NSLP + Small interval meter load ($/MWh) | The load weighted average of the hourly simulated spot prices for the given NSLP + Small interval meter load and simulation number - using the corresponding hourly NSLP + Small interval meter loads as the weights.
WEC (Hedged price) (nominal at the regional reference node) | Annual hedged price - NSLP + Small interval meter load ($/MWh) | Sum of the hourly spot purchase costs, contract purchase costs (adopting a fixed quarterly hedging strategy and estimated contract prices), and hedge difference payments, divided by the annual energy to derive a price in $/MWh terms for a given NSLP + Small interval meter load and simulation number.

## Data
Summary of results for 605 market simulations for 2026-27 - Queensland
Simulation number | Unplanned outage set | Weather set | Energy and demand (as generated) |  |  |  | Spot Price (nominal at the regional reference node) |  |  |  |  | WEC (nominal at the regional reference node)
|  |  | Annual regional energy (GWh) | Annual regional peak demand (MW) | Annual energy - Energex NSLP + Small interval meter load(GWh) | Annual peak demand - Energex NSLP + Small interval meter load (MW) | Annual regional time weighted spot price ($/MWh) | Annual regional load weighted spot price ($/MWh) | Number of hours spot prices above $300 | Contribution of spot prices above $300 to annual average spot price ($/MWh) | Annual load weighted spot price - Energex NSLP + Small interval meter load ($/MWh) | Annual hedged price - Energex NSLP + Small interval meter load ($/MWh)
1 | 1 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 98.93 | 111.33 | 112 | 19.8716 | 121.08 | 125.13
2 | 1 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 85.23 | 93.2 | 86 | 8.1708 | 97.04 | 137.34
3 | 1 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 90.02 | 99.28 | 67 | 13.2736 | 103.09 | 131.61
4 | 1 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 81.47 | 88.65 | 92 | 4.0721 | 90.33 | 137.27
5 | 1 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 92.72 | 104.27 | 95 | 15.4018 | 114.34 | 130.51
6 | 1 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 88.28 | 97.21 | 115 | 9.9765 | 100.46 | 129.51
7 | 1 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 83.6 | 91.73 | 118 | 5.426 | 95.71 | 136.35
8 | 1 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 95.85 | 109.29 | 112 | 16.9553 | 122.45 | 127.82
9 | 1 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 93.24 | 102.73 | 96 | 15.5784 | 106.65 | 126.57
10 | 1 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 81.93 | 91.19 | 63 | 4.7178 | 98.7 | 137.94
11 | 1 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 94.23 | 103.88 | 121 | 16.9106 | 109.15 | 132.38
12 | 1 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 92.58 | 101.81 | 126 | 14.0099 | 106.2 | 132.84
13 | 1 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 83.21 | 92.03 | 80 | 6.5008 | 97.79 | 135.3
14 | 1 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 91.24 | 99.96 | 132 | 12.9208 | 103.66 | 130.34
15 | 1 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 90.72 | 101.44 | 68 | 14.349 | 110.18 | 130.56
16 | 1 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 92.92 | 103.39 | 142 | 13.1943 | 109.62 | 130.2
17 | 1 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 96.29 | 108.63 | 155 | 16.6344 | 119.58 | 126.81
18 | 1 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 82.44 | 89.65 | 71 | 6.3125 | 91.2 | 135.49
19 | 1 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 81.91 | 89.88 | 85 | 5.1545 | 92.87 | 136.42
20 | 1 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 91.31 | 101.22 | 120 | 13.2884 | 108.35 | 131.69
21 | 1 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 91.59 | 102 | 122 | 12.6241 | 106.94 | 126.65
22 | 1 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 91.99 | 102.66 | 113 | 13.1823 | 111.27 | 135.7
23 | 1 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 88.06 | 97.71 | 102 | 10.6903 | 103.32 | 130.92
24 | 1 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 89.75 | 98.65 | 85 | 12.9898 | 102.56 | 131.35
25 | 1 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 87.41 | 95.51 | 120 | 8.8203 | 98.83 | 136.64
26 | 1 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 85.44 | 96.37 | 99 | 9.1573 | 105.88 | 135.6
27 | 1 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 83.91 | 92.08 | 94 | 7.6058 | 94.85 | 133.42
28 | 1 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 88.17 | 98.89 | 119 | 10.3133 | 107.25 | 134.09
29 | 1 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 85.79 | 96.32 | 79 | 9.2112 | 106.1 | 134.97
30 | 1 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 78.9 | 86.52 | 53 | 2.6916 | 89.68 | 139.73
31 | 1 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 83.62 | 90.96 | 82 | 6.6026 | 92.38 | 136.52
32 | 1 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 87.05 | 98.1 | 116 | 9.4004 | 108.11 | 133.52
33 | 1 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 86.38 | 95.15 | 87 | 9.393 | 99.58 | 132.38
34 | 1 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 90.44 | 102.6 | 122 | 12.0099 | 114.02 | 130.72
35 | 1 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 91.15 | 102.38 | 104 | 13.9042 | 110.46 | 128.53
36 | 1 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 93.98 | 105 | 104 | 15.16 | 112.64 | 131.23
37 | 1 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 83.22 | 91.49 | 40 | 7.1864 | 94.96 | 137.25
38 | 1 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 89.7 | 99.02 | 91 | 12.9625 | 101.78 | 131.43
39 | 1 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 87.03 | 96.14 | 101 | 10.6071 | 100.31 | 132.08
40 | 1 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 84.53 | 92.34 | 83 | 7.0694 | 93.96 | 134.45
41 | 1 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 93.08 | 102.79 | 156 | 13.9983 | 107.89 | 126.71
42 | 1 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 84.29 | 92.26 | 82 | 7.4638 | 96.28 | 136.89
43 | 1 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 80.47 | 87.68 | 72 | 2.3751 | 90.19 | 138.7
44 | 1 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 81.03 | 90.45 | 65 | 6.5019 | 96.05 | 136.53
45 | 1 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 99.59 | 113.08 | 140 | 20.747 | 122.71 | 123.01
46 | 1 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 84.66 | 93.02 | 88 | 7.2673 | 96.23 | 134.72
47 | 1 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 92.19 | 103.25 | 117 | 13.5426 | 109.85 | 130.13
48 | 1 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 93.18 | 107.03 | 110 | 14.9729 | 121.59 | 125.68
49 | 1 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 89.61 | 99.54 | 112 | 12.1147 | 105.23 | 130.9
50 | 1 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 102.29 | 116.74 | 141 | 22.8098 | 129.3 | 123.43
51 | 1 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 83.49 | 91.55 | 121 | 6.6394 | 95.02 | 135.14
52 | 1 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 97.56 | 111.36 | 151 | 19.3944 | 120.45 | 123.34
53 | 1 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 89.3 | 99.13 | 127 | 12.1665 | 102.42 | 130.21
54 | 1 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 97.73 | 114.4 | 119 | 19.5148 | 133.55 | 123.31
55 | 1 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 81.37 | 88.96 | 73 | 4.4319 | 91.35 | 134.75
56 | 2 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 91.89 | 102.99 | 105 | 12.271 | 111.63 | 129.7
57 | 2 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 83.68 | 91.58 | 102 | 6.1307 | 94.9 | 137.23
58 | 2 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 90.82 | 101.53 | 127 | 13.6847 | 107.79 | 128.58
59 | 2 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 88.36 | 96.38 | 89 | 10.5265 | 97.96 | 133
60 | 2 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 102.58 | 113.61 | 90 | 25.4976 | 119.04 | 121.92
61 | 2 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 86.79 | 94.88 | 87 | 9.7183 | 96.91 | 132.5
62 | 2 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 87 | 94.53 | 61 | 9.479 | 96.17 | 132.56
63 | 2 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 96.27 | 110.24 | 148 | 16.8235 | 124.2 | 126.58
64 | 2 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 90.2 | 99.61 | 122 | 11.7344 | 104.23 | 133.34
65 | 2 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 88.98 | 99.76 | 60 | 12.096 | 109.11 | 133.81
66 | 2 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 96.67 | 108.24 | 135 | 18.2196 | 115.9 | 125.26
67 | 2 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 92.73 | 103.41 | 108 | 13.7894 | 110.8 | 127.23
68 | 2 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 81.1 | 89.56 | 79 | 4.5279 | 95.05 | 138.95
69 | 2 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 93.26 | 104.36 | 102 | 15.4396 | 111.72 | 125.71
70 | 2 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 79.23 | 86.88 | 58 | 2.4697 | 90.98 | 140.91
71 | 2 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 114.03 | 130.15 | 173 | 34.255 | 141.8 | 109.2
72 | 2 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 88.54 | 98.71 | 102 | 9.5894 | 106.18 | 133.5
73 | 2 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 80.35 | 87.06 | 38 | 4.9234 | 88.68 | 138.23
74 | 2 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 93.62 | 102.14 | 112 | 15.9747 | 103.03 | 128.09
75 | 2 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 86.12 | 94.68 | 92 | 7.8301 | 99.59 | 133.82
76 | 2 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 91.27 | 101.77 | 160 | 11.8161 | 108.58 | 129.18
77 | 2 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 87.93 | 96.73 | 105 | 9.6151 | 100.6 | 133.72
78 | 2 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 79.82 | 86.78 | 84 | 2.9317 | 89.46 | 138.77
79 | 2 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 83.18 | 93.07 | 74 | 7.3425 | 100.52 | 135.42
80 | 2 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 80.49 | 87.4 | 52 | 2.6307 | 89.68 | 140.12
81 | 2 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 94.04 | 105.94 | 116 | 17.5872 | 113.18 | 127.05
82 | 2 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 77.59 | 84.42 | 53 | 2.165 | 86.16 | 140.79
83 | 2 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 96.04 | 105.15 | 125 | 18.3301 | 107.72 | 124.59
84 | 2 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 91.87 | 102.48 | 111 | 15.3874 | 109.92 | 130.85
85 | 2 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 89.61 | 100.65 | 114 | 12.2914 | 108.59 | 129.89
86 | 2 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 82.92 | 90.42 | 68 | 6.2732 | 92.37 | 137.94
87 | 2 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 91.57 | 103.63 | 129 | 13.7005 | 114.28 | 129.16
88 | 2 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 83.63 | 91.6 | 58 | 7.4098 | 94.44 | 135.76
89 | 2 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 87.03 | 98.59 | 111 | 8.4779 | 110.14 | 136.04
90 | 2 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 86.41 | 95.64 | 86 | 9.3604 | 100.95 | 134.28
91 | 2 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 91.33 | 102.31 | 94 | 11.9353 | 111.72 | 131.63
92 | 2 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 81.59 | 89.61 | 99 | 4.1569 | 92.62 | 138.86
93 | 2 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 83.47 | 91.65 | 102 | 6.3058 | 94.48 | 137.18
94 | 2 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 82.25 | 90.66 | 87 | 5.3143 | 95.05 | 139.64
95 | 2 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 107.12 | 121.13 | 146 | 29.222 | 129.42 | 116.01
96 | 2 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 88.08 | 97.11 | 77 | 10.4748 | 101.76 | 130.5
97 | 2 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 82.38 | 89.97 | 94 | 5.7399 | 93.22 | 137.6
98 | 2 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 88.52 | 97.77 | 91 | 10.4183 | 102.02 | 129.72
99 | 2 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 92.29 | 103.31 | 89 | 16.7043 | 109.61 | 126.74
100 | 2 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 93.15 | 103.93 | 94 | 14.687 | 110.91 | 127.1
101 | 2 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 100.52 | 112.2 | 100 | 23.3724 | 118.36 | 122.5
102 | 2 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 100.08 | 112.49 | 94 | 21.1179 | 119.15 | 121.38
103 | 2 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 98.21 | 114.15 | 126 | 19.3951 | 133.5 | 122.91
104 | 2 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 86.59 | 96.17 | 60 | 9.2105 | 101.04 | 133.28
105 | 2 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 107.99 | 122.3 | 135 | 28.7844 | 132.16 | 119.89
106 | 2 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 78.16 | 85.31 | 62 | 1.4942 | 87.71 | 139.77
107 | 2 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 101.12 | 113.38 | 153 | 23.1056 | 118.37 | 120.89
108 | 2 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 92.93 | 102.07 | 139 | 15.3425 | 103.47 | 124.35
109 | 2 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 111.57 | 134.09 | 139 | 32.4595 | 162.81 | 110.02
110 | 2 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 78.42 | 84.95 | 60 | 1.4092 | 86.35 | 138.98
111 | 3 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 95.31 | 107.74 | 91 | 16.3933 | 119.19 | 129.54
112 | 3 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 85.93 | 94.92 | 111 | 9.4012 | 99.98 | 135.61
113 | 3 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 85.2 | 93.4 | 78 | 7.3798 | 96.51 | 136.75
114 | 3 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 90.66 | 100.13 | 120 | 14.0386 | 103.81 | 127.62
115 | 3 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 105.04 | 118.24 | 134 | 28.3317 | 128.45 | 122.45
116 | 3 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 83.12 | 90.58 | 68 | 5.8156 | 92.62 | 136.34
117 | 3 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 90.03 | 98.34 | 69 | 13.314 | 99.82 | 131.07
118 | 3 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 93.72 | 105.97 | 132 | 14.9068 | 115.83 | 129.58
119 | 3 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 87.7 | 97.3 | 85 | 9.9709 | 103.07 | 133.43
120 | 3 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 86.74 | 95.95 | 93 | 8.4869 | 101.73 | 135.82
121 | 3 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 97.4 | 108.44 | 103 | 19.5975 | 114.58 | 125.95
122 | 3 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 89.78 | 98.51 | 95 | 12.1152 | 102.34 | 132.09
123 | 3 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 87.69 | 97.54 | 84 | 11.1328 | 104.47 | 134.29
124 | 3 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 87.39 | 96.32 | 103 | 9.768 | 101.06 | 132.81
125 | 3 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 90.84 | 100.66 | 100 | 13.8187 | 106.68 | 131.34
126 | 3 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 94.99 | 106.06 | 144 | 15.9585 | 113.9 | 127.06
127 | 3 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 97.46 | 111.2 | 169 | 17.6493 | 125.2 | 128
128 | 3 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 82.86 | 90.23 | 70 | 6.3348 | 92.58 | 137.27
129 | 3 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 94.48 | 104.27 | 123 | 17.156 | 106.18 | 128.76
130 | 3 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 86.12 | 93.99 | 75 | 7.7013 | 97.6 | 137.77
131 | 3 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 94.1 | 105.81 | 145 | 15.5625 | 115.82 | 126.75
132 | 3 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 85.62 | 93.12 | 104 | 7.4592 | 94.34 | 131.61
133 | 3 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 85.67 | 93.98 | 88 | 8.5304 | 98.38 | 136.68
134 | 3 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 90.59 | 100.59 | 92 | 13.9991 | 106.8 | 130.59
135 | 3 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 89.31 | 97.53 | 100 | 11.7878 | 99.86 | 134.28
136 | 3 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 98.22 | 111.97 | 119 | 21.9574 | 124.9 | 125.1
137 | 3 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 91.06 | 99.54 | 107 | 14.6374 | 101.09 | 127.98
138 | 3 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 97.14 | 107.7 | 141 | 18.6413 | 112.34 | 126.84
139 | 3 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 83.91 | 92.49 | 102 | 7.362 | 96.93 | 135.91
140 | 3 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 77.98 | 85.24 | 68 | 1.7742 | 87.71 | 140.93
141 | 3 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 79.03 | 86.37 | 81 | 3.0722 | 89.63 | 139.4
142 | 3 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 94.71 | 107.78 | 135 | 16.9815 | 119.31 | 119.06
143 | 3 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 84.79 | 93.8 | 87 | 8.5592 | 99.35 | 134.27
144 | 3 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 101.54 | 118.92 | 145 | 23.1983 | 140.14 | 124.96
145 | 3 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 89.39 | 99.57 | 125 | 11.9468 | 105.62 | 129.73
146 | 3 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 93.74 | 104.78 | 134 | 14.167 | 112.84 | 128.52
147 | 3 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 83.11 | 91.88 | 65 | 7.1628 | 95.68 | 135.04
148 | 3 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 88.54 | 98.12 | 104 | 11.3806 | 103.11 | 131.98
149 | 3 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 81.28 | 89.2 | 107 | 4.6599 | 92.02 | 138.59
150 | 3 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 82.04 | 89.73 | 82 | 5.5801 | 91.81 | 135.25
151 | 3 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 96.66 | 106.24 | 136 | 17.9062 | 109.9 | 123.51
152 | 3 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 86.18 | 94.79 | 95 | 9.6049 | 99.67 | 133.16
153 | 3 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 92.26 | 102.39 | 140 | 14.1847 | 106.91 | 126.56
154 | 3 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 92.52 | 104.32 | 92 | 17.8138 | 111.42 | 128.96
155 | 3 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 113.28 | 126.53 | 166 | 34.3427 | 134.93 | 118.79
156 | 3 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 86.42 | 94.41 | 89 | 10.2467 | 96.91 | 133.38
157 | 3 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 97.32 | 109.22 | 114 | 18.5276 | 115.21 | 124.65
158 | 3 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 92.89 | 106.66 | 104 | 14.8132 | 121.62 | 127.23
159 | 3 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 92.06 | 101.52 | 79 | 14.2741 | 104.55 | 129.43
160 | 3 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 113.89 | 134.17 | 124 | 34.3473 | 154.89 | 112.15
161 | 3 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 86.49 | 95.57 | 109 | 9.9587 | 98.78 | 126.71
162 | 3 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 100.28 | 113.51 | 157 | 22.7666 | 122.67 | 120.25
163 | 3 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 98.57 | 109.74 | 159 | 21.0174 | 113.5 | 123.06
164 | 3 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 98.84 | 112.26 | 139 | 20.3478 | 123.29 | 120.78
165 | 3 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 90.42 | 100.14 | 117 | 12.8159 | 105.05 | 129.95
166 | 4 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 92.49 | 103.47 | 111 | 13.3979 | 110.23 | 126.06
167 | 4 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 82.62 | 90.6 | 87 | 5.8232 | 94.78 | 135.92
168 | 4 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 80.44 | 87.78 | 70 | 4.1414 | 90.61 | 138.5
169 | 4 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 88.53 | 97.13 | 121 | 10.368 | 100.31 | 133.99
170 | 4 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 88.1 | 98.06 | 100 | 11.3689 | 106.39 | 133.61
171 | 4 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 83.71 | 91.81 | 79 | 6.4003 | 94.8 | 135.38
172 | 4 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 81.45 | 89.63 | 44 | 3.9576 | 94.18 | 136.94
173 | 4 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 97.93 | 113.66 | 81 | 20.231 | 132.47 | 125.1
174 | 4 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 90.59 | 100.15 | 89 | 13.1943 | 105.18 | 131.98
175 | 4 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 80.39 | 88.67 | 35 | 3.6781 | 94.27 | 138.25
176 | 4 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 88.5 | 97.36 | 103 | 10.0896 | 101.47 | 133.61
177 | 4 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 84.74 | 92.62 | 86 | 6.8552 | 95.59 | 133.56
178 | 4 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 84.75 | 94 | 69 | 8.5511 | 100.05 | 134.21
179 | 4 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 92.08 | 102.82 | 105 | 14.2724 | 109.69 | 127.69
180 | 4 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 81.4 | 89.61 | 81 | 5.2538 | 94.52 | 138.14
181 | 4 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 91.74 | 102.14 | 90 | 12.7548 | 109.48 | 128.44
182 | 4 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 92.69 | 103.88 | 134 | 13.2658 | 112.55 | 129.69
183 | 4 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 84.42 | 92.15 | 61 | 8.9093 | 94.47 | 133.75
184 | 4 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 81.23 | 89.5 | 74 | 4.7392 | 93.84 | 137.57
185 | 4 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 85.64 | 93.94 | 83 | 8.1469 | 98.37 | 135.05
186 | 4 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 85.13 | 94.85 | 71 | 7.6267 | 101.96 | 135.4
187 | 4 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 90.19 | 99.64 | 85 | 12.4879 | 104.44 | 131.36
188 | 4 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 80.11 | 87.76 | 51 | 3.24 | 91.84 | 138.71
189 | 4 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 82.38 | 91.74 | 45 | 6.8882 | 98.48 | 135.57
190 | 4 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 80.98 | 88.45 | 68 | 3.3971 | 91.9 | 139.87
191 | 4 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 99.83 | 118.68 | 112 | 23.7992 | 140.43 | 120.68
192 | 4 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 83.63 | 91.93 | 40 | 8.3435 | 94.49 | 132.32
193 | 4 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 87.24 | 97.87 | 75 | 9.8831 | 106.05 | 132.63
194 | 4 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 87.12 | 97.88 | 83 | 10.9154 | 106.36 | 132.36
195 | 4 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 87.15 | 98 | 85 | 10.7401 | 106.65 | 131.39
196 | 4 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 81.12 | 89.43 | 63 | 4.6418 | 94.54 | 139.52
197 | 4 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 97.02 | 109.94 | 106 | 19.2578 | 119.83 | 121.36
198 | 4 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 80.66 | 88.21 | 46 | 4.4623 | 90.57 | 135.86
199 | 4 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 90.74 | 103.61 | 137 | 12.3466 | 116.01 | 131.09
200 | 4 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 89.55 | 98.74 | 81 | 12.2005 | 102.59 | 130.41
201 | 4 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 95.59 | 108.52 | 107 | 16.7479 | 120.78 | 125.16
202 | 4 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 80.95 | 90.04 | 29 | 5.7478 | 95.02 | 134.59
203 | 4 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 85.93 | 96.77 | 101 | 9.1463 | 103.32 | 131.49
204 | 4 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 83.85 | 92.75 | 94 | 7.0782 | 97.3 | 137.92
205 | 4 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 88.53 | 98.58 | 120 | 11.1647 | 104.43 | 129.87
206 | 4 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 92.39 | 102.49 | 105 | 14.6131 | 107.49 | 126.12
207 | 4 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 79.68 | 86.72 | 52 | 3.6341 | 89.29 | 138.29
208 | 4 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 83.73 | 91.28 | 59 | 6.191 | 92.85 | 133.73
209 | 4 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 82.97 | 93.67 | 57 | 8.3593 | 100.71 | 132.97
210 | 4 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 95.92 | 107.51 | 64 | 18.4927 | 114.55 | 124.26
211 | 4 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 86.23 | 95.34 | 78 | 9.6202 | 99.27 | 130.83
212 | 4 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 84.11 | 92.91 | 105 | 5.9686 | 97.22 | 133.19
213 | 4 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 90.12 | 102.7 | 82 | 12.5529 | 115.77 | 128.46
214 | 4 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 87.08 | 98.17 | 98 | 9.3278 | 106.89 | 134.28
215 | 4 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 101.31 | 116.58 | 154 | 21.5734 | 131.24 | 118.35
216 | 4 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 89.27 | 98.52 | 107 | 12.579 | 101.68 | 124.74
217 | 4 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 88.33 | 98.82 | 135 | 10.9546 | 104.72 | 130.26
218 | 4 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 84.09 | 93.91 | 117 | 7.2039 | 98.93 | 131.86
219 | 4 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 96.05 | 111.95 | 121 | 17.8556 | 131.27 | 126.88
220 | 4 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 81.92 | 89.45 | 62 | 5.2307 | 91.12 | 133.99
221 | 5 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 90.31 | 101.57 | 63 | 12.0439 | 111.16 | 127.65
222 | 5 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 84.98 | 92.69 | 54 | 7.7767 | 95.3 | 137.51
223 | 5 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 85.89 | 94.3 | 79 | 8.9733 | 96.85 | 131.85
224 | 5 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 92.12 | 101.31 | 88 | 15.7428 | 103.89 | 126.49
225 | 5 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 92.7 | 103.55 | 81 | 15.7767 | 112.22 | 131.42
226 | 5 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 92.01 | 101.94 | 78 | 14.5328 | 105.94 | 122.72
227 | 5 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 87.12 | 95.96 | 86 | 9.7155 | 98.87 | 128.62
228 | 5 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 95.98 | 110.35 | 112 | 17.1956 | 124.67 | 126.47
229 | 5 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 88.61 | 96.78 | 65 | 10.4516 | 100.43 | 134.6
230 | 5 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 83.99 | 92.2 | 63 | 6.6962 | 95.48 | 134.1
231 | 5 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 99.91 | 109.78 | 111 | 22.243 | 114.66 | 125.87
232 | 5 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 95.97 | 105.77 | 105 | 16.7133 | 110.28 | 127.5
233 | 5 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 80.86 | 89.13 | 76 | 4.0043 | 94.77 | 139.4
234 | 5 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 97.64 | 106.97 | 121 | 19.7644 | 110.63 | 125.37
235 | 5 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 80.92 | 89.4 | 45 | 4.6836 | 95.65 | 139.09
236 | 5 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 100.03 | 112.73 | 113 | 21.1469 | 122.53 | 121.27
237 | 5 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 90.55 | 101.56 | 134 | 10.7634 | 110.95 | 134.54
238 | 5 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 83.19 | 90.41 | 62 | 7.1258 | 92.81 | 137.23
239 | 5 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 94.74 | 104.15 | 98 | 17.0819 | 106.1 | 129.33
240 | 5 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 92.94 | 103.04 | 115 | 14.0199 | 110.15 | 130.45
241 | 5 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 87.04 | 96.83 | 109 | 8.5796 | 103.83 | 133.56
242 | 5 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 99.81 | 110.32 | 104 | 21.8431 | 113.95 | 123.98
243 | 5 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 91.78 | 101.2 | 101 | 14.5133 | 105.51 | 126.56
244 | 5 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 83.17 | 91.72 | 68 | 6.9795 | 97.08 | 137.47
245 | 5 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 86.03 | 93.48 | 104 | 7.7251 | 95.16 | 134.74
246 | 5 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 104.43 | 124.36 | 85 | 28.8558 | 148.11 | 118.98
247 | 5 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 87.79 | 96.84 | 77 | 12.2653 | 98.87 | 125.43
248 | 5 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 95.7 | 107.6 | 117 | 17.5158 | 115.16 | 127.24
249 | 5 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 85.71 | 94.11 | 100 | 8.7135 | 97.38 | 134.48
250 | 5 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 81.28 | 89.78 | 75 | 4.6432 | 93.93 | 135.95
251 | 5 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 79.11 | 86.41 | 62 | 2.7532 | 89.22 | 139
252 | 5 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 90.2 | 100.96 | 117 | 12.5887 | 109.13 | 131.15
253 | 5 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 81.3 | 88.73 | 30 | 5.4269 | 91.16 | 135.8
254 | 5 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 94.11 | 106.17 | 151 | 15.3844 | 116.58 | 129.25
255 | 5 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 92.57 | 103.56 | 105 | 15.2612 | 110.73 | 127.31
256 | 5 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 95.72 | 107.46 | 141 | 15.6368 | 115.28 | 123.06
257 | 5 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 79 | 86.57 | 40 | 3.1685 | 89.3 | 138.33
258 | 5 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 88.04 | 96.88 | 89 | 11.7213 | 99.95 | 133.7
259 | 5 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 90.25 | 99.58 | 86 | 13.7915 | 103.49 | 129.04
260 | 5 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 82.03 | 89.61 | 69 | 5.5364 | 91.69 | 135.25
261 | 5 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 88.16 | 96.76 | 86 | 10.1295 | 100.47 | 129.98
262 | 5 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 81.17 | 87.99 | 60 | 4.7154 | 89.93 | 137.88
263 | 5 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 88.29 | 96.53 | 74 | 10.2254 | 98.88 | 129.82
264 | 5 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 84.11 | 94.82 | 53 | 9.6297 | 102.1 | 133.21
265 | 5 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 97.57 | 109.66 | 145 | 18.6232 | 116.28 | 121.57
266 | 5 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 82.82 | 90.44 | 60 | 6.2261 | 92.48 | 134.29
267 | 5 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 89.52 | 99.15 | 75 | 10.7178 | 103.59 | 129.68
268 | 5 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 91.15 | 103.33 | 108 | 13.5057 | 114.99 | 128.65
269 | 5 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 87.55 | 97.03 | 109 | 9.5682 | 101.92 | 129.79
270 | 5 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 104.28 | 121.4 | 139 | 24.4635 | 139.84 | 119.18
271 | 5 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 78.6 | 85.68 | 78 | 2.0006 | 87.92 | 138.45
272 | 5 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 94.24 | 105.03 | 129 | 16.6325 | 110.17 | 123.04
273 | 5 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 103.13 | 115.1 | 143 | 25.0141 | 119.17 | 119.04
274 | 5 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 98.95 | 112.92 | 122 | 20.529 | 124.55 | 124.06
275 | 5 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 79.39 | 86.48 | 50 | 2.8514 | 88.74 | 138.41
276 | 6 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 102.36 | 117.5 | 123 | 23.4783 | 130.81 | 116.82
277 | 6 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 93.22 | 103.57 | 108 | 16.7202 | 109.79 | 132.51
278 | 6 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 85.34 | 93.96 | 83 | 8.5755 | 98.66 | 138.03
279 | 6 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 86.83 | 96.09 | 106 | 9.6461 | 101.17 | 134.42
280 | 6 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 101.43 | 113.09 | 142 | 24.0619 | 123.11 | 121.54
281 | 6 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 91.36 | 100.47 | 110 | 13.7402 | 102.79 | 129.09
282 | 6 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 88.25 | 97.48 | 127 | 10.0043 | 101.04 | 130.2
283 | 6 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 98.8 | 113.07 | 122 | 20.2443 | 127.3 | 126.05
284 | 6 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 82.48 | 90.25 | 76 | 5.3693 | 94.1 | 137.55
285 | 6 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 88.92 | 100.29 | 116 | 10.949 | 109.18 | 133.3
286 | 6 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 99.36 | 111.81 | 153 | 21.5641 | 120.19 | 120
287 | 6 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 93.78 | 103.77 | 106 | 15.5578 | 108.57 | 126.91
288 | 6 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 90.56 | 102.6 | 73 | 13.7224 | 113.09 | 129.87
289 | 6 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 82.17 | 90.34 | 61 | 5.7565 | 94.76 | 135.21
290 | 6 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 91.49 | 102.13 | 98 | 14.555 | 110.12 | 135.2
291 | 6 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 93.29 | 104.45 | 144 | 13.3959 | 113.61 | 131.08
292 | 6 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 93.87 | 106.46 | 124 | 15.5839 | 116.94 | 127.18
293 | 6 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 79.51 | 86.74 | 67 | 3.9253 | 88.91 | 138.17
294 | 6 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 94.02 | 105.04 | 136 | 16.6386 | 111.12 | 129.14
295 | 6 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 93.58 | 103.81 | 72 | 16.1758 | 110.7 | 129.8
296 | 6 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 95.55 | 107.21 | 106 | 16.9997 | 114.41 | 124.53
297 | 6 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 97.71 | 109.15 | 93 | 20.2258 | 115.94 | 128.52
298 | 6 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 86.07 | 94.96 | 98 | 8.9954 | 99.91 | 134.09
299 | 6 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 88.45 | 98.74 | 104 | 12.2043 | 105.67 | 132.72
300 | 6 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 93.89 | 104.08 | 87 | 16.622 | 108.61 | 129.99
301 | 6 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 99.08 | 114.25 | 127 | 22.8599 | 126.81 | 121.52
302 | 6 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 89.75 | 100.21 | 87 | 13.5598 | 106.15 | 130.41
303 | 6 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 89.81 | 101.75 | 100 | 12.9824 | 111.53 | 133.07
304 | 6 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 77.18 | 83.85 | 62 | 1.4691 | 85.53 | 141.24
305 | 6 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 90.78 | 102.81 | 117 | 14.1784 | 110.89 | 127.58
306 | 6 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 78 | 84.85 | 20 | 2.6181 | 86.16 | 137.95
307 | 6 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 103.76 | 120.62 | 106 | 26.4177 | 138.25 | 116.6
308 | 6 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 79.37 | 86.77 | 78 | 3.1444 | 89.93 | 139.09
309 | 6 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 99.81 | 115.26 | 154 | 20.7921 | 131.08 | 125.41
310 | 6 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 88.42 | 98.32 | 112 | 11.0767 | 104.44 | 130.71
311 | 6 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 93.38 | 104.73 | 130 | 14.032 | 114.23 | 131.48
312 | 6 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 88.48 | 97.97 | 78 | 12.4322 | 102.16 | 133.79
313 | 6 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 94.29 | 105.72 | 106 | 17.0402 | 111.68 | 128.25
314 | 6 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 104.01 | 121.58 | 146 | 27.1193 | 138.6 | 120.02
315 | 6 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 88.33 | 98.06 | 127 | 11.146 | 102.4 | 129.78
316 | 6 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 85.2 | 93.06 | 126 | 6.9806 | 95.51 | 134.08
317 | 6 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 87.96 | 97.15 | 99 | 11.2752 | 102.11 | 133.34
318 | 6 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 81.05 | 88.54 | 71 | 3.8915 | 91.36 | 137.83
319 | 6 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 88.61 | 100.45 | 103 | 13.8816 | 109.03 | 130.33
320 | 6 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 120.02 | 135.71 | 157 | 40.9485 | 147.56 | 116.42
321 | 6 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 95.95 | 108.07 | 76 | 19.4229 | 116.76 | 125.76
322 | 6 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 96.59 | 109.78 | 97 | 18.4127 | 120.75 | 125.23
323 | 6 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 94.75 | 108.67 | 148 | 16.7397 | 123.15 | 125.22
324 | 6 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 94.89 | 107.77 | 97 | 16.859 | 116.3 | 123.29
325 | 6 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 104.24 | 120.26 | 138 | 25.4271 | 134.34 | 117.12
326 | 6 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 91.84 | 101.63 | 100 | 14.466 | 105.36 | 128.74
327 | 6 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 99.46 | 113.47 | 136 | 22.1671 | 122.78 | 121.73
328 | 6 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 85.74 | 95.37 | 119 | 8.9698 | 99.31 | 133.23
329 | 6 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 99.76 | 115.82 | 129 | 21.9643 | 132.2 | 122.11
330 | 6 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 92.1 | 101.71 | 77 | 15.3491 | 105.14 | 128.79
331 | 7 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 92.8 | 102.73 | 94 | 14.7306 | 106.86 | 125.86
332 | 7 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 82.77 | 90.17 | 87 | 6.2721 | 92.82 | 138.65
333 | 7 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 82.76 | 90.5 | 81 | 6.4091 | 92.9 | 134.68
334 | 7 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 88.66 | 97.34 | 64 | 12.5864 | 99.23 | 126.81
335 | 7 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 94.82 | 104.29 | 119 | 18.0107 | 107.71 | 128.72
336 | 7 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 84.84 | 93.45 | 54 | 8.4551 | 96.05 | 128.01
337 | 7 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 96.05 | 107.51 | 99 | 19.253 | 113.44 | 114.98
338 | 7 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 92.26 | 103.35 | 119 | 14.5342 | 111.36 | 131.13
339 | 7 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 85.94 | 94.43 | 93 | 8.8908 | 98.48 | 134.81
340 | 7 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 84.92 | 94.67 | 68 | 8.6141 | 101.7 | 133.09
341 | 7 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 82.19 | 89.8 | 74 | 5.5573 | 92.79 | 138.06
342 | 7 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 89.74 | 98.78 | 102 | 12.7797 | 103.13 | 128.72
343 | 7 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 79.16 | 86.61 | 51 | 3.538 | 90.13 | 139.25
344 | 7 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 91.57 | 101.78 | 100 | 14.7377 | 107.69 | 128.65
345 | 7 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 92.63 | 103.24 | 88 | 16.4316 | 109.47 | 125.45
346 | 7 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 101.58 | 113.97 | 115 | 22.9353 | 121.33 | 122.42
347 | 7 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 88.18 | 98.96 | 64 | 10.4896 | 107.96 | 132.67
348 | 7 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 79.2 | 86.13 | 42 | 4.3751 | 87.29 | 135.43
349 | 7 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 83.79 | 91.48 | 103 | 7.1178 | 93.3 | 136.11
350 | 7 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 87.09 | 96.02 | 79 | 9.5135 | 101.61 | 133.14
351 | 7 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 94.81 | 104.35 | 82 | 17.316 | 106.99 | 126.46
352 | 7 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 90.82 | 101.31 | 84 | 14.1049 | 109.69 | 131.42
353 | 7 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 78.07 | 84.81 | 53 | 1.7632 | 87.56 | 140.86
354 | 7 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 80.7 | 88.6 | 54 | 5.6999 | 92.46 | 137.55
355 | 7 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 89.35 | 98.45 | 94 | 12.0539 | 101.52 | 129.95
356 | 7 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 93.84 | 109.6 | 94 | 18.5409 | 126.92 | 127.36
357 | 7 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 84.8 | 93.5 | 70 | 9.6307 | 96.68 | 130.28
358 | 7 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 92.76 | 104.59 | 95 | 16.0647 | 114.41 | 129.11
359 | 7 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 90.49 | 100.24 | 94 | 14.4876 | 105.67 | 130.25
360 | 7 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 84.37 | 93.3 | 64 | 9.08 | 97.45 | 132.82
361 | 7 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 82.41 | 90.32 | 60 | 7.2675 | 93.35 | 133.06
362 | 7 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 87.64 | 97.45 | 118 | 10.1584 | 103.7 | 132.06
363 | 7 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 77.6 | 84.08 | 81 | 2.2219 | 85.63 | 139.88
364 | 7 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 91.65 | 103.46 | 103 | 14.6533 | 113.47 | 128.57
365 | 7 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 95.65 | 107.05 | 90 | 19.1586 | 113.68 | 121.5
366 | 7 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 87.85 | 98.2 | 92 | 9.5741 | 107.05 | 133.72
367 | 7 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 77.4 | 84.27 | 67 | 2.4972 | 86.05 | 139.02
368 | 7 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 84.67 | 94.13 | 95 | 8.7994 | 98.38 | 133.1
369 | 7 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 87.32 | 97.19 | 82 | 10.7811 | 104.25 | 134.87
370 | 7 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 84.53 | 93.18 | 87 | 8.3734 | 96.25 | 131.93
371 | 7 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 90.44 | 99 | 64 | 13.4818 | 102.27 | 129.34
372 | 7 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 82.31 | 89.67 | 44 | 7.074 | 92.04 | 136.38
373 | 7 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 84.36 | 92.51 | 48 | 7.6242 | 95.4 | 133.28
374 | 7 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 79.96 | 88.14 | 53 | 5.9162 | 91.23 | 136.86
375 | 7 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 92.53 | 102.96 | 105 | 14.5986 | 108.47 | 129.33
376 | 7 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 83.21 | 90.94 | 93 | 7.2627 | 93.42 | 133.75
377 | 7 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 95.56 | 108.61 | 111 | 17.6145 | 117.92 | 122.62
378 | 7 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 85.42 | 95.99 | 100 | 8.5542 | 105.82 | 134
379 | 7 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 78.75 | 85.74 | 42 | 2.4235 | 87.67 | 138.3
380 | 7 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 101.99 | 117.15 | 139 | 23.517 | 129.42 | 114.4
381 | 7 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 82.52 | 90.93 | 80 | 6.0673 | 95.74 | 137.02
382 | 7 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 93.09 | 103.03 | 147 | 15.9091 | 106.01 | 128.06
383 | 7 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 92.97 | 103.68 | 122 | 15.9413 | 106.95 | 122.22
384 | 7 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 88.63 | 100.05 | 59 | 11.9055 | 109.75 | 132.2
385 | 7 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 80.97 | 88.33 | 53 | 4.533 | 90.89 | 136.64
386 | 8 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 98.02 | 111.91 | 122 | 18.6713 | 125 | 122.86
387 | 8 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 81.41 | 89.44 | 83 | 5.2227 | 93.34 | 138.65
388 | 8 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 92.71 | 102.3 | 99 | 16.2659 | 105.87 | 129.93
389 | 8 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 85.32 | 93.02 | 89 | 9.1687 | 95.05 | 132.19
390 | 8 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 95.45 | 107.38 | 95 | 18.4542 | 118.37 | 128.73
391 | 8 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 83.34 | 90.5 | 54 | 6.4303 | 91.74 | 136.65
392 | 8 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 84.05 | 92.78 | 83 | 7.0544 | 97.54 | 136.35
393 | 8 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 95.92 | 108.17 | 126 | 17.5041 | 118.38 | 130.69
394 | 8 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 85.95 | 94.41 | 95 | 8.6943 | 98.59 | 134.67
395 | 8 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 85.91 | 95.09 | 103 | 8.7482 | 101.54 | 135.07
396 | 8 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 88.6 | 98.1 | 106 | 11.2358 | 103.05 | 128.97
397 | 8 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 88.62 | 97.4 | 126 | 10.925 | 101.03 | 130.97
398 | 8 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 85.09 | 95.29 | 58 | 9.0987 | 103.55 | 134.25
399 | 8 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 88.08 | 97.87 | 66 | 11.2832 | 103.95 | 132.33
400 | 8 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 93.09 | 104.52 | 71 | 16.3797 | 115.09 | 130.53
401 | 8 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 94.5 | 104.77 | 151 | 15.6621 | 109.7 | 127.92
402 | 8 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 102.71 | 115.92 | 155 | 23.5483 | 126.39 | 120.2
403 | 8 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 81.16 | 88.04 | 58 | 5.8888 | 89.74 | 136.57
404 | 8 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 85.86 | 94.07 | 85 | 9.2139 | 95.75 | 134.96
405 | 8 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 85.07 | 93.37 | 97 | 7.5194 | 97.67 | 136.51
406 | 8 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 93.32 | 104.93 | 104 | 15.4017 | 113.27 | 127.09
407 | 8 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 88.79 | 98.72 | 87 | 11.5788 | 105.05 | 130.28
408 | 8 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 81.32 | 88.91 | 82 | 4.8709 | 92.3 | 137.03
409 | 8 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 86.88 | 95.74 | 82 | 10.8998 | 98.86 | 133.98
410 | 8 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 91.41 | 100.21 | 79 | 14.2668 | 102.82 | 130.94
411 | 8 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 95.3 | 109.6 | 123 | 19.1853 | 122.8 | 125.5
412 | 8 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 86.21 | 94.6 | 100 | 10.915 | 96.77 | 130.72
413 | 8 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 86.58 | 97.26 | 68 | 9.8975 | 105.83 | 134.28
414 | 8 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 89.49 | 100.4 | 57 | 13.3585 | 107.9 | 132.63
415 | 8 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 82.75 | 91.16 | 51 | 6.6972 | 94.8 | 135.26
416 | 8 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 75.91 | 82.1 | 21 | 0.35973 | 83.25 | 141.5
417 | 8 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 90.58 | 102.39 | 146 | 13.206 | 112.13 | 127.12
418 | 8 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 79.42 | 86.2 | 59 | 3.1962 | 87.42 | 136.58
419 | 8 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 90.03 | 99.75 | 101 | 11.9268 | 104.82 | 131.11
420 | 8 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 89.56 | 101.28 | 89 | 13.7137 | 110.55 | 127.69
421 | 8 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 88.36 | 97.65 | 118 | 9.0636 | 102.22 | 131.12
422 | 8 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 84.47 | 93.25 | 65 | 8.4776 | 96.02 | 134.09
423 | 8 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 85.94 | 95.7 | 97 | 9.8069 | 100.52 | 131.35
424 | 8 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 90.94 | 101.39 | 118 | 14.1158 | 106.84 | 130.18
425 | 8 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 84.64 | 94.68 | 87 | 8.7351 | 101.06 | 132.56
426 | 8 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 94.14 | 105.45 | 113 | 16.3729 | 114.12 | 124.17
427 | 8 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 79.5 | 86.27 | 60 | 3.5873 | 88.37 | 138.29
428 | 8 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 84.43 | 91.94 | 74 | 7.292 | 93.28 | 134
429 | 8 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 87.08 | 96.81 | 92 | 12.0657 | 100.78 | 132.89
430 | 8 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 102.69 | 116.34 | 115 | 24.3187 | 125.42 | 118.74
431 | 8 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 91.85 | 102.01 | 73 | 15.9872 | 106.01 | 123.73
432 | 8 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 82.74 | 90.92 | 117 | 4.6132 | 94.56 | 137.95
433 | 8 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 93.81 | 106.67 | 168 | 15.0207 | 118.39 | 127.77
434 | 8 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 94.84 | 107.61 | 123 | 17.2093 | 115.67 | 120.34
435 | 8 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 96.58 | 110.82 | 115 | 17.1681 | 125.34 | 126.04
436 | 8 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 82.61 | 90.75 | 83 | 6.4214 | 93.78 | 135.29
437 | 8 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 101.32 | 113.48 | 136 | 24.5424 | 119.47 | 117.59
438 | 8 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 92.63 | 104.43 | 116 | 15.5986 | 110 | 118.98
439 | 8 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 94.61 | 109.24 | 110 | 16.5285 | 124.83 | 125.32
440 | 8 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 83.72 | 92.08 | 77 | 7.1425 | 95.46 | 132.54
441 | 9 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 95.58 | 107.21 | 74 | 17.5556 | 117.31 | 122.75
442 | 9 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 84.82 | 92.91 | 69 | 7.9402 | 97.7 | 139.48
443 | 9 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 95.1 | 105.11 | 102 | 17.5247 | 109.11 | 126.73
444 | 9 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 87.14 | 95.75 | 104 | 10.0394 | 98.25 | 128.48
445 | 9 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 92.01 | 102.98 | 137 | 13.9965 | 112.59 | 132.17
446 | 9 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 87.94 | 95.73 | 78 | 10.0213 | 97.03 | 131.52
447 | 9 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 85.81 | 94.28 | 102 | 7.9786 | 97.87 | 133.9
448 | 9 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 102.35 | 114.9 | 136 | 23.2335 | 123.93 | 121.4
449 | 9 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 82.82 | 89.89 | 93 | 5.5073 | 92.15 | 137.83
450 | 9 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 98.02 | 112.01 | 112 | 19.7335 | 126.72 | 121.74
451 | 9 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 98.06 | 108.95 | 108 | 20.7774 | 114.21 | 125.31
452 | 9 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 84.31 | 92.13 | 112 | 6.2114 | 94.82 | 133.12
453 | 9 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 82.06 | 91.07 | 47 | 5.6838 | 97.95 | 138.47
454 | 9 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 89.61 | 98.44 | 91 | 12.9089 | 102.74 | 128.36
455 | 9 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 83.36 | 93.54 | 47 | 7.2429 | 103.68 | 136.72
456 | 9 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 91.46 | 101.36 | 117 | 12.0959 | 107.04 | 124.3
457 | 9 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 89.57 | 100.79 | 125 | 10.3896 | 110.54 | 131.95
458 | 9 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 80.5 | 87.64 | 50 | 5.0609 | 88.81 | 134.38
459 | 9 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 89.52 | 97.88 | 134 | 12.166 | 100.15 | 129.42
460 | 9 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 101.9 | 116.42 | 126 | 23.201 | 131.23 | 115.23
461 | 9 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 90.24 | 100.16 | 73 | 11.9047 | 106.47 | 130.92
462 | 9 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 91.59 | 101.22 | 138 | 12.882 | 105.93 | 133.04
463 | 9 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 82.58 | 90.85 | 73 | 5.5377 | 95.73 | 134.88
464 | 9 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 80.26 | 87.61 | 63 | 4.1519 | 90.49 | 138.75
465 | 9 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 95.34 | 107.04 | 78 | 17.5345 | 117.53 | 122.96
466 | 9 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 95.79 | 108.46 | 93 | 20.4546 | 118.35 | 124
467 | 9 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 78.29 | 85.22 | 58 | 3.185 | 86.69 | 138.41
468 | 9 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 90.13 | 102.13 | 78 | 13.0395 | 112.02 | 129.73
469 | 9 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 83.64 | 92.38 | 102 | 6.8076 | 97.51 | 135.22
470 | 9 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 83.73 | 93.08 | 85 | 7.469 | 98.54 | 134.05
471 | 9 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 84.81 | 93.02 | 55 | 8.2415 | 96.13 | 134.05
472 | 9 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 94.56 | 107.8 | 130 | 16.8383 | 120 | 120.1
473 | 9 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 78.39 | 85.18 | 54 | 2.2385 | 87.08 | 139.28
474 | 9 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 89.89 | 101.09 | 133 | 11.0859 | 110.8 | 133.5
475 | 9 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 93.73 | 106.56 | 115 | 16.2795 | 118.41 | 128.2
476 | 9 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 90.48 | 100.32 | 111 | 11.2192 | 105.8 | 129.56
477 | 9 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 79.52 | 86.75 | 41 | 3.3209 | 88.81 | 138.41
478 | 9 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 85.7 | 93.62 | 91 | 9.1932 | 95.85 | 131.97
479 | 9 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 89.45 | 99.57 | 94 | 12.577 | 105.52 | 131.7
480 | 9 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 80.12 | 87.29 | 78 | 2.998 | 89.29 | 136.6
481 | 9 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 85.84 | 93.83 | 113 | 8.015 | 97.06 | 134.27
482 | 9 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 92.36 | 101.55 | 110 | 14.8882 | 105.7 | 129.78
483 | 9 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 80.32 | 86.95 | 44 | 2.8892 | 88.61 | 138.27
484 | 9 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 84.09 | 94.35 | 61 | 9.0893 | 100.27 | 133.12
485 | 9 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 104.03 | 119.31 | 111 | 25.9811 | 132.44 | 116.52
486 | 9 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 86.89 | 95.57 | 103 | 9.9729 | 98.89 | 133.78
487 | 9 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 88.54 | 99.09 | 74 | 10.1776 | 106.81 | 127.66
488 | 9 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 89.88 | 102.74 | 99 | 13.0138 | 116.7 | 128.88
489 | 9 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 99.15 | 112.81 | 104 | 21.3103 | 122.98 | 121.26
490 | 9 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 103.06 | 117.9 | 121 | 23.8457 | 131.12 | 118.78
491 | 9 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 93.34 | 103.72 | 107 | 16.7201 | 109.03 | 123.98
492 | 9 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 106.51 | 118.91 | 154 | 29.296 | 123.22 | 109.88
493 | 9 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 98.04 | 108.94 | 155 | 20.3434 | 113.14 | 117.41
494 | 9 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 109.9 | 131.69 | 139 | 31.0362 | 160.15 | 109
495 | 9 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 86.75 | 95.47 | 57 | 9.4254 | 99.05 | 131.25
496 | 10 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 86.9 | 95.53 | 79 | 8.4841 | 98.75 | 131.61
497 | 10 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 85.5 | 93.5 | 94 | 8.1754 | 97.36 | 138.01
498 | 10 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 91.22 | 100.92 | 85 | 14.9795 | 104.71 | 127.71
499 | 10 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 81.81 | 88.88 | 87 | 4.6547 | 91.02 | 136.99
500 | 10 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 89.1 | 98.91 | 87 | 12.3568 | 106.06 | 133.18
501 | 10 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 83.02 | 90.19 | 50 | 6.2112 | 91.51 | 136.26
502 | 10 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 86.25 | 94.81 | 80 | 8.2613 | 98.44 | 133.82
503 | 10 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 83.47 | 91.89 | 92 | 5.3859 | 96.85 | 138.84
504 | 10 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 84.6 | 92.9 | 116 | 6.7338 | 97.74 | 137.52
505 | 10 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 86.6 | 97.88 | 34 | 9.8464 | 108.88 | 132.95
506 | 10 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 91.06 | 100.44 | 105 | 13.2154 | 104.37 | 132.58
507 | 10 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 87.17 | 95.45 | 96 | 9.9121 | 98.43 | 130.89
508 | 10 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 82.67 | 90.98 | 72 | 5.9385 | 95.46 | 135.97
509 | 10 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 82.64 | 91.08 | 62 | 5.8588 | 95.7 | 134.59
510 | 10 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 82.2 | 89.99 | 74 | 6.2962 | 93.64 | 137.84
511 | 10 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 99.29 | 111.01 | 125 | 19.8536 | 118.37 | 125.86
512 | 10 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 91.89 | 102.54 | 145 | 13.0263 | 110.06 | 131.35
513 | 10 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 79.1 | 85.77 | 58 | 3.5647 | 87.69 | 139
514 | 10 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 90.63 | 100.39 | 89 | 13.4872 | 105 | 129.56
515 | 10 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 88.32 | 96.62 | 83 | 10.3438 | 100.65 | 134.15
516 | 10 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 92.48 | 102.54 | 71 | 14.6275 | 107.4 | 128.3
517 | 10 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 89.08 | 97.38 | 86 | 11.898 | 99.81 | 133.14
518 | 10 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 79.56 | 86.67 | 67 | 2.5855 | 89.93 | 140.23
519 | 10 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 93.9 | 105.12 | 68 | 18.0445 | 112.4 | 127.31
520 | 10 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 96.42 | 106.42 | 116 | 17.9746 | 110.76 | 130.69
521 | 10 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 93.75 | 107.38 | 81 | 18.7688 | 118.47 | 125.58
522 | 10 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 80.08 | 87.5 | 42 | 5.5067 | 89.98 | 137.03
523 | 10 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 85.4 | 94.84 | 103 | 7.4262 | 101.11 | 137.39
524 | 10 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 87.9 | 97.39 | 87 | 11.1187 | 103.01 | 134.31
525 | 10 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 81.67 | 90.11 | 73 | 5.3245 | 95 | 138.86
526 | 10 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 81.55 | 89.5 | 57 | 5.1682 | 93.66 | 135.69
527 | 10 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 93.31 | 106.46 | 76 | 16.914 | 120.13 | 128.18
528 | 10 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 85.51 | 94.43 | 85 | 9.4258 | 100.02 | 133.84
529 | 10 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 94.42 | 106.45 | 107 | 16.9285 | 116.91 | 128.62
530 | 10 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 85.39 | 93.59 | 87 | 8.1585 | 96.86 | 134.21
531 | 10 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 90.93 | 101.63 | 110 | 12.0249 | 110.09 | 130.91
532 | 10 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 83.38 | 91.65 | 41 | 7.5463 | 94.08 | 135.7
533 | 10 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 86.81 | 96.82 | 97 | 9.6412 | 102.05 | 130.18
534 | 10 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 88.53 | 98.41 | 103 | 11.7353 | 103.23 | 134.46
535 | 10 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 84.87 | 93.29 | 87 | 8.2098 | 96.02 | 129.59
536 | 10 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 86.63 | 94.65 | 89 | 9.1965 | 97.18 | 132.55
537 | 10 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 77.92 | 83.99 | 56 | 0.84639 | 85.33 | 140.64
538 | 10 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 87.5 | 95.98 | 80 | 9.7096 | 99.76 | 132.95
539 | 10 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 89.23 | 100.29 | 119 | 13.3175 | 107.71 | 131.91
540 | 10 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 98.56 | 110.38 | 93 | 20.4158 | 116.47 | 124.97
541 | 10 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 85.18 | 93.79 | 70 | 8.8576 | 97.97 | 134.37
542 | 10 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 90.75 | 101.85 | 100 | 11.7458 | 109.07 | 128.31
543 | 10 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 84.31 | 94.24 | 76 | 7.2191 | 102.86 | 134.4
544 | 10 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 90.55 | 101.22 | 81 | 13.2102 | 106.89 | 129.74
545 | 10 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 105.43 | 122.6 | 159 | 25.6963 | 140.26 | 116.84
546 | 10 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 91.5 | 101.11 | 109 | 14.2855 | 106.96 | 128.5
547 | 10 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 91.32 | 102.04 | 110 | 14.165 | 106.71 | 127.23
548 | 10 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 85.32 | 95.02 | 105 | 7.8622 | 99.56 | 131.12
549 | 10 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 96.79 | 112.19 | 126 | 18.1584 | 130.43 | 129.67
550 | 10 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 83.09 | 91.52 | 66 | 6.3162 | 95.43 | 133.33
551 | 11 | 1 | 54636.0169 | 10462.0072 | 6395.2645 | 2570.3998 | 92.64 | 103.66 | 131 | 13.0364 | 111.4 | 128.15
552 | 11 | 2 | 54376.3318 | 9768.8928 | 6243.1653 | 2045.5656 | 83.84 | 91.57 | 105 | 6.8767 | 95.77 | 139.56
553 | 11 | 3 | 54469.8028 | 10057.3369 | 6310.1496 | 2129.5039 | 85.73 | 93.68 | 74 | 9.2793 | 96.22 | 133.25
554 | 11 | 4 | 54397.6657 | 10139.0656 | 6257.7772 | 2045.5656 | 79.84 | 86.48 | 58 | 2.9103 | 87.95 | 139.97
555 | 11 | 5 | 54398.2717 | 10327.6003 | 6314.6867 | 2431.6709 | 90.44 | 99.62 | 126 | 13.152 | 104.7 | 132.96
556 | 11 | 6 | 54458.3433 | 10462.0072 | 6319.1893 | 2570.3998 | 86.28 | 93.76 | 80 | 8.7765 | 95.35 | 132.42
557 | 11 | 7 | 54386.4015 | 11156.9866 | 6376.6268 | 2570.3998 | 83.72 | 91.71 | 97 | 6.2082 | 94.65 | 134.78
558 | 11 | 8 | 54514.2406 | 10462.0072 | 6410.6758 | 2570.3998 | 95.93 | 107.34 | 107 | 17.3604 | 114.93 | 127.57
559 | 11 | 9 | 54497.8835 | 10139.0656 | 6292.6457 | 2045.5656 | 88.7 | 97.02 | 100 | 11.0027 | 100.45 | 131.71
560 | 11 | 10 | 54697.4666 | 11006.3106 | 6437.8168 | 2570.3998 | 85.06 | 94.34 | 59 | 7.7069 | 100.35 | 134.91
561 | 11 | 11 | 54578.3251 | 10139.0656 | 6351.0536 | 2129.5039 | 102.94 | 116.33 | 107 | 25.4627 | 125.21 | 112.82
562 | 11 | 12 | 54795.6468 | 10462.0072 | 6453.1698 | 2570.3998 | 88.1 | 96.62 | 109 | 9.9276 | 98.97 | 130.28
563 | 11 | 13 | 54238.3278 | 10462.0072 | 6318.2072 | 2570.3998 | 79.53 | 87.04 | 74 | 3.0719 | 90.52 | 139.39
564 | 11 | 14 | 54633.5607 | 10057.3369 | 6310.3677 | 2045.5656 | 83.01 | 89.87 | 93 | 5.2286 | 91.9 | 137.64
565 | 11 | 15 | 54372.7465 | 10462.0072 | 6321.0093 | 2570.3998 | 87.92 | 95.95 | 67 | 11.5702 | 98.54 | 132.33
566 | 11 | 16 | 54817.9247 | 11006.3106 | 6453.8268 | 2570.3998 | 99.55 | 111.45 | 120 | 20.6864 | 120.19 | 125.98
567 | 11 | 17 | 54878.0614 | 10462.0072 | 6478.1892 | 2570.3998 | 93.52 | 104.65 | 144 | 14.5713 | 112.59 | 128.25
568 | 11 | 18 | 54333.88 | 10462.0072 | 6261.9655 | 2570.3998 | 81.8 | 88.91 | 89 | 5.2773 | 91.14 | 138.68
569 | 11 | 19 | 54455.1641 | 10057.3369 | 6307.7955 | 2045.5656 | 95.19 | 106.43 | 142 | 17.5911 | 112.09 | 123.59
570 | 11 | 20 | 54538.2068 | 10462.0072 | 6288.8315 | 2570.3998 | 93.8 | 104.31 | 111 | 15.3871 | 111.06 | 128.58
571 | 11 | 21 | 54718.3541 | 10511.0063 | 6385.6898 | 2326.8988 | 87.8 | 96.82 | 104 | 9.4652 | 100.6 | 132.58
572 | 11 | 22 | 54724.022 | 10462.0072 | 6440.012 | 2570.3998 | 81.33 | 88.33 | 53 | 3.5093 | 90.18 | 138.36
573 | 11 | 23 | 54562.3249 | 10139.0656 | 6302.3918 | 2045.5656 | 80.63 | 88.03 | 72 | 3.649 | 91.74 | 137.72
574 | 11 | 24 | 54378.4517 | 10462.0072 | 6266.1467 | 2570.3998 | 82.55 | 90.44 | 64 | 6.1729 | 93.53 | 137.96
575 | 11 | 25 | 54482.4128 | 10275.2938 | 6289.7206 | 2326.8988 | 84.77 | 92.32 | 105 | 6.6272 | 94.26 | 136.32
576 | 11 | 26 | 54449.98 | 11503.2192 | 6322.343 | 2661.3894 | 91.95 | 104.66 | 64 | 17.3173 | 115.95 | 129.03
577 | 11 | 27 | 54093.4417 | 10462.0072 | 6236.8745 | 2570.3998 | 81.19 | 88.51 | 51 | 5.9846 | 89.61 | 135.28
578 | 11 | 28 | 54570.5373 | 11156.9866 | 6423.6097 | 2570.3998 | 94.66 | 106.02 | 124 | 16.8716 | 112.54 | 129.49
579 | 11 | 29 | 54282.6931 | 10327.6003 | 6247.9595 | 2431.6709 | 84.17 | 92.78 | 110 | 7.4477 | 97.02 | 137.07
580 | 11 | 30 | 54191.6522 | 10462.0072 | 6247.1303 | 2570.3998 | 81.97 | 90.23 | 73 | 5.6931 | 93.75 | 137.3
581 | 11 | 31 | 54216.6513 | 11006.3106 | 6254.259 | 2466.5392 | 82.17 | 90.02 | 76 | 5.8641 | 93.54 | 137.71
582 | 11 | 32 | 54607.4474 | 11156.9866 | 6395.0329 | 2539.9862 | 90.14 | 100.07 | 118 | 12.2286 | 105.55 | 130.53
583 | 11 | 33 | 54469.305 | 10462.0072 | 6298.7578 | 2570.3998 | 85.99 | 94.91 | 85 | 9.6918 | 100.03 | 131.94
584 | 11 | 34 | 54834.2537 | 11006.3106 | 6461.2817 | 2570.3998 | 86.74 | 96.73 | 93 | 9.602 | 103.99 | 135.25
585 | 11 | 35 | 54690.3997 | 10511.0063 | 6356.2397 | 2431.6709 | 94.45 | 107.25 | 104 | 17.5895 | 118.99 | 124.5
586 | 11 | 36 | 54812.0099 | 11503.2192 | 6450.0645 | 2661.3894 | 85.92 | 95.39 | 105 | 6.7178 | 102.36 | 136.52
587 | 11 | 37 | 54209.885 | 11156.9866 | 6244.7092 | 2539.9862 | 80.97 | 88.84 | 68 | 5.2048 | 91.48 | 136.91
588 | 11 | 38 | 54323.5984 | 10057.3369 | 6241.2152 | 2129.5039 | 90.95 | 100.06 | 78 | 14.3058 | 102.37 | 131.1
589 | 11 | 39 | 54214.5332 | 10462.0072 | 6290.5722 | 2570.3998 | 80.71 | 88.56 | 104 | 3.7073 | 91.85 | 140.18
590 | 11 | 40 | 54434.2524 | 10511.0063 | 6373.7612 | 2431.6709 | 91.49 | 100.26 | 89 | 14.531 | 102.16 | 128.86
591 | 11 | 41 | 54450.4047 | 10139.0656 | 6284.4077 | 2129.5039 | 89.72 | 98.5 | 120 | 11.8878 | 102.25 | 132.93
592 | 11 | 42 | 54498.0061 | 10462.0072 | 6335.8142 | 2570.3998 | 83.6 | 91.58 | 90 | 6.7371 | 95.57 | 136.22
593 | 11 | 43 | 54583.1503 | 10462.0072 | 6350.5593 | 2570.3998 | 87.55 | 95.88 | 72 | 9.7195 | 98.67 | 129.43
594 | 11 | 44 | 54297.9472 | 10511.0063 | 6277.8312 | 2314.2341 | 84.4 | 94.14 | 70 | 9.5242 | 98.48 | 132.3
595 | 11 | 45 | 54710.4766 | 11156.9866 | 6448.2714 | 2539.9862 | 89.45 | 99.46 | 69 | 12.2184 | 103.01 | 125.62
596 | 11 | 46 | 54381.9131 | 10462.0072 | 6386.1438 | 2570.3998 | 86.32 | 95.85 | 63 | 10.2115 | 101.33 | 133.61
597 | 11 | 47 | 54666.5653 | 11503.2192 | 6390.9407 | 2661.3894 | 88.2 | 97.68 | 88 | 10.209 | 102.65 | 129.5
598 | 11 | 48 | 54717.5636 | 10511.0063 | 6427.394 | 2431.6709 | 88.1 | 99.01 | 100 | 10.9209 | 108 | 129.83
599 | 11 | 49 | 54591.0518 | 10511.0063 | 6404.8093 | 2314.2341 | 90.47 | 101.2 | 87 | 12.9922 | 107.16 | 127.12
600 | 11 | 50 | 54823.3297 | 10511.0063 | 6449.5386 | 2431.6709 | 111.54 | 128.81 | 154 | 31.5897 | 145.67 | 115.92
601 | 11 | 51 | 54513.6681 | 10462.0072 | 6364.9195 | 2570.3998 | 80.79 | 88.2 | 80 | 4.2142 | 90.44 | 136.99
602 | 11 | 52 | 54450.7022 | 10511.0063 | 6273.2704 | 2431.6709 | 95.27 | 106.68 | 125 | 18.2019 | 111.81 | 124.57
603 | 11 | 53 | 54196.6109 | 10327.6003 | 6265.0394 | 2431.6709 | 94.41 | 105.69 | 155 | 15.8935 | 110.41 | 124.86
604 | 11 | 54 | 54689.1548 | 11156.9866 | 6406.4956 | 2588.3275 | 102.64 | 120.84 | 100 | 24.8583 | 142.93 | 120.67
605 | 11 | 55 | 54568.9584 | 11503.2192 | 6389.4376 | 2628.3197 | 84.54 | 92.85 | 69 | 7.7268 | 95.87 | 134.63